## NT_NW
North Terminal Northwest Site
DATE TIME | APM10 ug/m3 | PRESS mmHg | TEMP DEG C | WSPD m/s | WDIR deg | HZD-S deg | GUST m/s | RESSP m/s | RESDR deg | HZD-V deg
2015-03-15 | 10 | 751.0917 | 1.3758 | 0.61667 | 33.2572 | 17.3872 | 1.668 | 0.46332 | 34.724 | 15.9053
2015-03-15 01:00 | 9 | 751.1417 | 0.59742 | 0.60683 | 184.4678 | 13.5819 | 1.268 | 0.15747 | 221.4347 | 12.8053
2015-03-15 02:00 | 17.9167 | 751.4 | -0.1385 | 0.8005 | 257.1499 | 11.0281 | 1.468 | 0.47078 | 250.9094 | 10.9628
2015-03-15 03:00 | 17 | 751.6833 | -0.5155 | AO | AO | AO | AO | AO | AO | AO
2015-03-15 04:00 | 17 | 751.7833 | -0.89867 | 0.60133 | 200.5926 | 11.6667 | 1.228 | 0.47874 | 201.7492 | 10.9999
2015-03-15 05:00 | 24 | 752.225 | -1.1592 | 1.0255 | 218.8154 | 6.1974 | 1.668 | 1.0002 | 216.974 | 6.1585
2015-03-15 06:00 | 39 | 752.5333 | -0.243 | 1.003 | 209.2596 | 10.0507 | 1.748 | 0.97753 | 208.49 | 9.7168
2015-03-15 07:00 | 34 | 752.85 | 3.1167 | 1.9599 | 208.1843 | 11.6863 | 3.268 | 1.9135 | 207.9651 | 11.4902
2015-03-15 08:00 | 41.6667 | 752.9083 | 5.6273 | 2.482 | 195.9374 | 12.7908 | 4.027 | 2.4041 | 196.7151 | 12.4364
2015-03-15 09:00 | 37 | 752.7167 | 8.5817 | 3.3253 | 213.3777 | 13.0853 | 5.627 | 3.1735 | 215.166 | 12.7828
2015-03-15 10:00 | 22 | 752.15 | 11.2325 | 4.0323 | 219.0375 | 14.6095 | 6.987 | 3.8851 | 219.7445 | 14.1923
2015-03-15 11:00 | 15 | 751.8583 | 13.1183 | 4.877 | 221.7965 | 14.2657 | 8.79 | 4.7109 | 222.1922 | 13.9316
2015-03-15 12:00 | 19 | 750.9583 | 14.3092 | 5.7496 | 216.5485 | 13.5301 | 10.35 | 5.5578 | 216.5557 | 13.2833
2015-03-15 13:00 | 17 | 750.1917 | 15.4658 | 6.0543 | 217.3293 | 13.8798 | 10.63 | 5.8454 | 217.3022 | 13.5353
2015-03-15 14:00 | 12 | 749.1667 | 16.56 | 5.8557 | 212.6183 | 12.711 | 9.55 | 5.6954 | 212.7162 | 12.4926
2015-03-15 15:00 | 10 | 748.025 | 16.5225 | 5.8533 | 208.5007 | 13.8555 | 10.43 | 5.659 | 208.8376 | 13.5115
2015-03-15 16:00 | 18 | 747.4917 | 16.04 | 6.4513 | 207.5409 | 11.7395 | 11.83 | 6.312 | 207.5533 | 11.6011
2015-03-15 17:00 | 16 | 746.95 | 15.4483 | 6.1096 | 204.5915 | 11.9699 | 10.71 | 5.9655 | 204.6477 | 11.7391
2015-03-15 18:00 | 16 | 746.3667 | 14.99 | 6.8442 | 203.506 | 11.7684 | 12.39 | 6.6924 | 203.7332 | 11.4447
2015-03-15 19:00 | 7 | 746.2333 | 14.7033 | 6.6015 | 221.1183 | 11.9963 | 11.59 | 6.4516 | 221.1758 | 11.72
2015-03-15 20:00 | 13 | 746.1917 | 13.865 | 6.7045 | 226.3507 | 11.075 | 11.99 | 6.5815 | 226.4404 | 10.879
2015-03-15 21:00 | 13 | 746.15 | 14.1142 | 6.7693 | 234.7437 | 12.2614 | 11.79 | 6.607 | 234.7406 | 12.1212
2015-03-15 22:00 | 12 | 745.9333 | 13.7483 | 5.7988 | 239.1512 | 12.4971 | 10.43 | 5.6604 | 239.1878 | 12.4138
2015-03-15 23:00 | 9 | 745.5583 | 13.5925 | 5.5257 | 236.4164 | 12.2445 | 10.51 | 5.3962 | 236.3156 | 12.1099
2015-03-16 | 12 | 745.4583 | 13.7725 | 4.9722 | 239.7435 | 12.3338 | 10.03 | 4.858 | 239.7096 | 12.0163
2015-03-16 01:00 | 13 | 745.2 | 14.0017 | 4.7292 | 243.8916 | 13.3527 | 10.15 | 4.5993 | 243.9334 | 13.0984
2015-03-16 02:00 | 18 | 744.9667 | 13.8608 | 5.1662 | 252.8513 | 14.6992 | 10.67 | 4.9887 | 252.2332 | 14.4742
2015-03-16 03:00 | 17 | 744.9833 | 12.9167 | 3.8709 | 260.1115 | 15.3716 | 7.827 | 3.7291 | 259.8461 | 15.0321
2015-03-16 04:00 | 27 | 745.2583 | 12.0883 | 3.1728 | 246.68 | 13.0947 | 5.627 | 3.0794 | 246.3832 | 12.8994
2015-03-16 05:00 | 28.1667 | 745.3 | 10.755 | 2.9319 | 237.5701 | 10.568 | 4.627 | 2.8637 | 237.3584 | 10.4331
2015-03-16 06:00 | 33 | 745.4 | 10.1558 | 3.1483 | 235.8772 | 10.4583 | 5.187 | 3.0895 | 235.8609 | 10.3676
2015-03-16 07:00 | 38 | 745.5667 | 11.9317 | 3.76 | 240.8595 | 12.9816 | 6.587 | 3.6657 | 241.1887 | 12.7329
2015-03-16 08:00 | 32 | 745.5167 | 15.1592 | 4.7578 | 248.4667 | 14.8824 | 8.67 | 4.5973 | 248.1815 | 14.5753
2015-03-16 09:00 | 34.25 | 744.8667 | 17.3117 | 4.3435 | 248.2442 | 14.1574 | 7.267 | 4.1404 | 248.4046 | 13.9291
2015-03-16 10:00 | 30 | 744.2833 | 17.7725 | 4.7066 | 229.1818 | 13.3516 | 9.71 | 4.5671 | 229.2406 | 13.0034
2015-03-16 11:00 | 29 | 743.575 | 18.5942 | 5.1046 | 220.4853 | 12.4988 | 8.39 | 4.9805 | 220.6994 | 12.1783
2015-03-16 12:00 | 33.0833 | 742.7167 | 19.5267 | 5.6653 | 217.2755 | 13.3953 | 10.23 | 5.5094 | 217.3836 | 13.1869
2015-03-16 13:00 | 37 | 742 | 20.5133 | 6.3472 | 219.2282 | 12.8611 | 10.51 | 6.1768 | 219.2278 | 12.7474
2015-03-16 14:00 | 29 | 741.2583 | 21.4067 | 5.9982 | 211.9724 | 12.441 | 10.47 | 5.832 | 212.1827 | 12.3006
2015-03-16 15:00 | 37.9167 | 740.125 | 22.2625 | 5.9512 | 204.6351 | 12.8967 | 11.19 | 5.7771 | 204.9236 | 12.621
2015-03-16 16:00 | 31 | 739.7667 | 21.845 | 7.1665 | 215.1607 | 11.7264 | 13.31 | 7.0032 | 215.4559 | 11.656
2015-03-16 17:00 | 19 | 739.8083 | 21.145 | 5.8127 | 221.7754 | 11.7918 | 11.23 | 5.6866 | 221.7707 | 11.5612
2015-03-16 18:00 | 16 | 740.3917 | 19.75 | 4.2058 | 222.0673 | 11.2873 | 8.99 | 4.1238 | 222.2129 | 11.1772
2015-03-16 19:00 | 8 | 740.7167 | 18.4917 | 3.4827 | 213.7836 | 10.8055 | 5.787 | 3.4174 | 213.8995 | 10.6903
2015-03-16 20:00 | 24.1667 | 741.975 | 12.7292 | 4.6763 | 334.8083 | 22.1639 | 11.87 | 3.1568 | 343.4477 | 20.4039
2015-03-16 21:00 | 19.75 | 743.1333 | 7.5769 | 5.5679 | 348.1423 | 24.9687 | 13.75 | 5.0882 | 347.6681 | 23.4164
2015-03-16 22:00 | AN | 744.025 | 5.6155 | 6.1478 | 347.3117 | 25.8673 | 14.35 | 5.595 | 347.7625 | 24.1001
2015-03-16 23:00 | AN | 745.075 | 4.5637 | 6.5762 | 353.8449 | 24.5481 | 15.91 | 6.0392 | 354.0471 | 22.9997
2015-03-17 | 0 | 746.025 | 4.2352 | 5.4627 | 1.2624 | 22.1762 | 10.43 | 5.09 | 1.3536 | 21.0689
2015-03-17 01:00 | 2 | 746.925 | 4.0593 | 4.9813 | 7.3624 | 21.1101 | 9.55 | 4.6839 | 7.6542 | 19.9209
2015-03-17 02:00 | 5 | 747.7333 | 3.81 | 5.0339 | 7.9492 | 21.4248 | 12.67 | 4.7159 | 7.9959 | 20.1062
2015-03-17 03:00 | 6 | 748.8167 | 3.4004 | 5.5419 | 12.2871 | 21.7143 | 11.71 | 5.1754 | 12.6887 | 20.7061
2015-03-17 04:00 | 16 | 750.1417 | 2.782 | 7.0285 | 8.8581 | 22.6245 | 15.11 | 6.5312 | 9.2344 | 21.4147
2015-03-17 05:00 | 11 | 751.4 | 2.2708 | 6.7576 | 3.9997 | 21.6479 | 16.07 | 6.3193 | 4.468 | 20.5244
2015-03-17 06:00 | 23 | 752.4667 | 1.9882 | 7.5019 | 5.0163 | 23.1405 | 15.87 | 6.9329 | 5.3418 | 22.051
2015-03-17 07:00 | 22 | 753.5667 | 1.9223 | 7.752 | 8.7999 | 22.0158 | 15.63 | 7.2101 | 9.1084 | 21.0754
2015-03-17 08:00 | 13 | 754.1083 | 2.7324 | 6.7793 | 11.5745 | 21.0286 | 14.27 | 6.338 | 11.5829 | 20.3413
2015-03-17 09:00 | 13 | 754.6167 | 3.1337 | 6.7099 | 9.773 | 22.6727 | 12.47 | 6.2133 | 10.2359 | 21.4039
2015-03-17 10:00 | 13 | 755.0167 | 3.6083 | 5.9096 | 7.3513 | 23.0848 | 11.67 | 5.4669 | 7.8305 | 21.5371
2015-03-17 11:00 | 370 | 755.0083 | 3.7095 | 5.16 | 11.9166 | 22.3078 | 9.79 | 4.7581 | 12.5608 | 21.1112
2015-03-17 12:00 | 15 | 754.8417 | 3.5027 | 4.8196 | 17.6604 | 21.1296 | 9.11 | 4.4989 | 18.408 | 19.5682
2015-03-17 13:00 | 13.5833 | 754.55 | 3.4173 | 4.2412 | 29.3765 | 20.7069 | 7.387 | 3.8762 | 29.3037 | 19.6964
2015-03-17 14:00 | 12 | 754.3917 | 3.0834 | 3.9737 | 38.484 | 19.4796 | 7.627 | 3.7253 | 39.1042 | 18.6205
2015-03-17 15:00 | 8 | 754.3 | 2.9496 | 3.519 | 42.8944 | 22.1983 | 6.907 | 3.1986 | 42.5955 | 21.2312
2015-03-17 16:00 | 4 | 754.2417 | 2.2227 | 3.087 | 74.6036 | 15.1204 | 5.107 | 2.8946 | 74.8016 | 14.3625
2015-03-17 17:00 | 2 | 754.3 | 1.409 | 2.3523 | 77.6332 | 13.4832 | 4.347 | 2.2681 | 78.7761 | 12.9479
2015-03-17 18:00 | 6.0833 | 754.4917 | 0.85883 | 1.2833 | 108.4709 | 13.1056 | 2.308 | 1.1742 | 105.9861 | 12.9286
2015-03-17 19:00 | 11 | 754.55 | 0.22192 | 1.0202 | 147.5099 | 11.5077 | 1.788 | 0.82554 | 151.0635 | 11.3514
2015-03-17 20:00 | 21 | 754.625 | -0.3775 | 1.0774 | 237.1059 | 9.5615 | 1.668 | 1.0029 | 235.8975 | 9.5151
2015-03-17 21:00 | 47 | 754.6333 | -1.3972 | 0.68633 | 224.631 | 6.4313 | 1.188 | 0.67359 | 225.1244 | 6.489
2015-03-17 22:00 | 40 | 754.4333 | -1.6606 | 0.97417 | 229.3009 | 8.9231 | 1.828 | 0.94391 | 227.5928 | 8.5936
2015-03-17 23:00 | 50 | 754.425 | -1.3857 | 1.4188 | 233.3327 | 7.4328 | 2.108 | 1.3997 | 233.5148 | 7.4025
2015-03-18 | 49 | 754.65 | -0.43583 | 1.4728 | 240.0227 | 11.288 | 2.468 | 1.4251 | 240.9931 | 11.1371
2015-03-18 01:00 | 27 | 754.4917 | -0.057667 | 1.0688 | 254.2437 | 12.9813 | 2.148 | 1.0037 | 251.3723 | 12.8617
2015-03-18 02:00 | 41 | 754.3083 | -0.68283 | 1.0959 | 263.1799 | 13.3987 | 1.908 | 1.0238 | 259.2105 | 13.2534
2015-03-18 03:00 | 31 | 754.3333 | -1.3253 | 1.4459 | 248.5016 | 9.0451 | 2.428 | 1.4218 | 247.9226 | 8.9391
2015-03-18 04:00 | 34 | 754.475 | -1.4391 | 1.279 | 253.3999 | 9.8688 | 2.108 | 1.2558 | 252.9615 | 9.8482
2015-03-18 05:00 | 69 | 754.65 | -2.1001 | 1.2819 | 269.3936 | 9.8298 | 2.228 | 1.2552 | 269.0535 | 9.7508
2015-03-18 06:00 | 71 | 754.8167 | -1.2674 | 1.4128 | 248.0832 | 9.9239 | 2.548 | 1.3702 | 246.9472 | 9.823
2015-03-18 07:00 | 42.25 | 754.8 | 2.3142 | 1.5678 | 256.6079 | 16.0085 | 2.708 | 1.4262 | 254.1721 | 15.3214
2015-03-18 08:00 | 36.0833 | 754.825 | 4.739 | 1.9768 | 221.1349 | 20.3165 | 3.628 | 1.8441 | 221.5039 | 18.8985
2015-03-18 09:00 | 30.4167 | 754.65 | 6.2858 | 1.754 | 25.2592 | 37.4983 | 3.987 | 0.15946 | 343.7401 | 33.4972
2015-03-18 10:00 | 43 | 754.2917 | 7.1484 | 2.5528 | 62.514 | 23.3157 | 4.507 | 2.2613 | 68.0361 | 21.4861
2015-03-18 11:00 | 16 | 753.8167 | 7.3986 | 3.8346 | 78.6304 | 12.073 | 5.947 | 3.7279 | 79.6783 | 11.6399
2015-03-18 12:00 | 20 | 753.3083 | 7.3374 | 4.3812 | 75.0268 | 11.7968 | 6.987 | 4.2538 | 76.0929 | 11.5094
2015-03-18 13:00 | 8 | 752.9167 | 6.8845 | 4.1367 | 70.4339 | 12.6936 | 6.307 | 3.9723 | 71.5083 | 12.2116
2015-03-18 14:00 | 5 | 752.7083 | 5.9643 | 3.719 | 72.4057 | 11.4743 | 5.787 | 3.6191 | 72.8378 | 11.2305
2015-03-18 15:00 | 0 | 752.5167 | 5.4623 | 3.5649 | 83.0207 | 9.7455 | 5.587 | 3.5108 | 83.0953 | 9.6747
2015-03-18 16:00 | AN | 752.3417 | 4.9328 | 3.4998 | 85.7393 | 9.9399 | 5.547 | 3.4439 | 85.6728 | 9.8624
2015-03-18 17:00 | 9 | 752.3417 | 5.1108 | 1.965 | 94.9725 | 12.7933 | 4.467 | 1.9138 | 94.4658 | 12.5887
2015-03-18 18:00 | 27 | 752.425 | 5.2441 | 1.3679 | 95.1369 | 9.8748 | 2.348 | 1.3347 | 95.1401 | 9.8616
2015-03-18 19:00 | 19 | 752.3917 | 5.0246 | 1.5711 | 67.1495 | 8.2425 | 2.228 | 1.545 | 67.3679 | 8.1566
2015-03-18 20:00 | 10 | 752.4083 | 4.6528 | 1.4837 | 81.6329 | 11.3264 | 2.748 | 1.4023 | 79.1352 | 11.2422
2015-03-18 21:00 | 13 | 752.3917 | 4.7203 | 0.99683 | 136.2237 | 11.1307 | 1.828 | 0.90553 | 135.0872 | 11.2273
2015-03-18 22:00 | 49 | 752.2833 | 5.116 | 0.86808 | 146.1277 | 10.584 | 1.948 | 0.75346 | 155.5349 | 10.5106
2015-03-18 23:00 | 23.0833 | 752.1917 | 4.7688 | 0.902 | 112.5458 | 10.8805 | 1.828 | 0.85191 | 110.6174 | 10.8728
2015-03-19 | 32.9167 | 752.375 | 4.416 | 1.0745 | 69.0508 | 9.2014 | 1.868 | 1.0253 | 70.2933 | 9.0044
2015-03-19 01:00 | 34 | 752.6083 | 3.7472 | 0.64075 | 31.7428 | 8.7689 | 1.108 | 0.62532 | 32.9688 | 8.6333
2015-03-19 02:00 | 54 | 752.5333 | 3.418 | 0.61017 | 189.3163 | 8.171 | 1.948 | 0.56843 | 170.8192 | 8.1824
2015-03-19 03:00 | 21 | 752.4083 | 4.1909 | 1.1926 | 146.0825 | 10.4492 | 2.548 | 1.1379 | 149.5407 | 10.4846
2015-03-19 04:00 | 27 | 752.4167 | 4.1099 | 1.0915 | 79.0107 | 8.1897 | 1.668 | 0.91247 | 76.3078 | 7.9805
2015-03-19 05:00 | 31 | 752.6167 | 3.6651 | 1.6832 | 64.3312 | 13.1002 | 3.508 | 1.559 | 69.3348 | 12.8858
2015-03-19 06:00 | 20 | 752.825 | 3.8564 | 2.7393 | 71.0065 | 11.6447 | 5.027 | 2.6735 | 72.0924 | 11.526
2015-03-19 07:00 | 24 | 752.8083 | 3.9493 | 3.4272 | 75.2959 | 11.3442 | 5.547 | 3.3525 | 75.5188 | 11.1688
2015-03-19 08:00 | 19 | 752.8 | 4.2533 | 3.6178 | 80.5709 | 10.2281 | 5.987 | 3.5555 | 80.6767 | 10.088
2015-03-19 09:00 | AZ | 752.75 | AZ | AZ | AZ | AZ | AZ | AZ | AZ | AZ
2015-03-19 10:00 | AZ | 752.0917 | 6.2087 | 4.7737 | 80.1366 | 11.1189 | 8.19 | 4.6737 | 80.5897 | 10.8584
2015-03-19 11:00 | 25 | 751.8 | 6.9223 | 4.0074 | 69.6403 | 14.0175 | 6.947 | 3.856 | 70.2014 | 13.7116
2015-03-19 12:00 | 47 | 751.2917 | 6.9397 | 3.8148 | 61.0843 | 15.0633 | 6.827 | 3.6856 | 61.3106 | 14.7125
2015-03-19 13:00 | 21 | 750.6833 | 6.4103 | 3.7385 | 55.4742 | 15.0327 | 6.267 | 3.61 | 55.4322 | 14.5247
2015-03-19 14:00 | 15 | 750.1417 | 6.1133 | 3.7093 | 57.2592 | 14.7345 | 6.507 | 3.5804 | 57.6118 | 14.3262
2015-03-19 15:00 | 10 | 749.675 | 5.7203 | 3.6848 | 60.8565 | 15.306 | 6.587 | 3.5531 | 61.2649 | 14.9226
2015-03-19 16:00 | 8 | 749.4167 | 5.2207 | 3.6112 | 57.3117 | 14.5625 | 6.707 | 3.4773 | 57.9462 | 14.1345
2015-03-19 17:00 | 4 | 749.2333 | 4.4023 | 3.4162 | 61.2702 | 13.5961 | 6.587 | 3.3064 | 61.6016 | 13.253
2015-03-19 18:00 | 0 | 749.25 | 4.0184 | 2.668 | 72.2575 | 13.251 | 5.227 | 2.5917 | 72.6518 | 12.9643
2015-03-19 19:00 | 10 | 749.5083 | 3.8629 | 2.2768 | 79.6792 | 10.5103 | 3.588 | 2.2308 | 79.905 | 10.3548
2015-03-19 20:00 | 13 | 749.3667 | 3.9123 | 2.0777 | 87.6211 | 10.9024 | 3.188 | 2.0062 | 87.1421 | 10.5532
2015-03-19 21:00 | 38 | 749.0167 | 5.0596 | 1.6254 | 171.2711 | 21.5906 | 5.987 | 1.3897 | 171.557 | 20.1702
2015-03-19 22:00 | 19.8333 | 748.775 | 5.3767 | 3.0568 | 152.8838 | 12.566 | 5.267 | 2.9415 | 153.1418 | 12.3216
2015-03-19 23:00 | 8 | 748.5667 | 4.5026 | 2.9478 | 179.0959 | 12.9353 | 5.387 | 2.8334 | 178.0173 | 12.6963
2015-03-20 | 5 | 748.475 | 3.8115 | 2.0312 | 198.2076 | 14.0185 | 4.547 | 1.969 | 199.3761 | 13.6005
2015-03-20 01:00 | 17 | 748.4667 | 3.6734 | 1.392 | 190.2827 | 12.7111 | 2.428 | 1.3472 | 189.9252 | 12.2903
2015-03-20 02:00 | 15 | 748.4167 | 3.6374 | 1.6483 | 212.0122 | 12.4785 | 2.468 | 1.5577 | 212.1862 | 12.196
2015-03-20 03:00 | 23 | 748.1833 | 3.502 | 1.8931 | 209.4431 | 12.1749 | 2.948 | 1.837 | 209.28 | 11.978
2015-03-20 04:00 | 22.5 | 748.1833 | 3.2106 | 2.1351 | 206.1188 | 10.2173 | 3.148 | 2.0927 | 206.6092 | 10.0071
2015-03-20 05:00 | 30 | 748.3667 | 3.217 | 1.8902 | 200.5998 | 11.8371 | 3.028 | 1.8473 | 201.0807 | 11.5698
2015-03-20 06:00 | 26.8333 | 748.8417 | 3.413 | 2.1063 | 217.5775 | 13.0548 | 3.588 | 2.0103 | 218.6488 | 12.821
2015-03-20 07:00 | 32 | 748.8583 | 3.9228 | 2.0938 | 224.1258 | 11.4171 | 3.228 | 2.0367 | 224.5953 | 11.257
2015-03-20 08:00 | 46 | 748.975 | 4.7867 | 2.5097 | 209.1309 | 13.723 | 4.427 | 2.4083 | 210.0021 | 13.4006
2015-03-20 09:00 | 41 | 748.9083 | 6.3073 | 2.699 | 229.8092 | 21.2265 | 5.147 | 2.4703 | 229.392 | 19.712
2015-03-20 10:00 | 40 | 748.6583 | 7.7566 | 3.1763 | 207.9966 | 19.0568 | 6.107 | 2.9703 | 208.0767 | 18.5938
2015-03-20 11:00 | 34 | 748.2833 | 9.2217 | 3.6624 | 206.6633 | 17.8677 | 7.227 | 3.4362 | 206.0616 | 17.314
2015-03-20 12:00 | 44 | 748.0833 | 9.7258 | 4.6887 | 212.0381 | 13.0844 | 8.71 | 4.5588 | 211.9038 | 12.591
2015-03-20 13:00 | 31 | 747.675 | 9.4308 | 4.8799 | 224.15 | 13.5855 | 7.747 | 4.6892 | 223.6262 | 13.292
2015-03-20 14:00 | 49 | 747.4583 | 9.0042 | 4.8333 | 226.8092 | 12.9212 | 8.27 | 4.6835 | 226.4877 | 12.5472
2015-03-20 15:00 | 23 | 747.2917 | 8.5567 | 5.2821 | 218.6998 | 12.7171 | 8.95 | 5.1427 | 218.7528 | 12.516
2015-03-20 16:00 | 15 | 746.9083 | 8.5917 | 4.7075 | 213.5962 | 12.6128 | 8.51 | 4.5525 | 212.6777 | 12.3679
2015-03-20 17:00 | 13 | 746.975 | 8.277 | 5.0483 | 210.1452 | 12.4124 | 9.03 | 4.9195 | 210.028 | 12.1817
2015-03-20 18:00 | 10 | 747.2917 | 7.5483 | 4.5648 | 215.7414 | 11.5602 | 8.07 | 4.4585 | 215.91 | 11.401
2015-03-20 19:00 | 23.25 | 747.4 | 6.5633 | 5.4862 | 218.834 | 11.6859 | 9.27 | 5.37 | 219.153 | 11.4137
2015-03-20 20:00 | 34 | 747.35 | 5.5089 | 4.6602 | 221.6589 | 12.3358 | 8.39 | 4.5504 | 221.9366 | 12.2893
2015-03-20 21:00 | 26.6667 | 747.35 | 4.612 | 4.7357 | 219.4421 | 11.4872 | 8.39 | 4.6392 | 219.41 | 11.3067
2015-03-20 22:00 | 25 | 747.5083 | 4.2006 | 5.1482 | 222.5008 | 11.623 | 9.95 | 5.0438 | 222.7171 | 11.3278
2015-03-20 23:00 | 28 | 747.0667 | 4.453 | 5.5978 | 213.1036 | 12.0426 | 11.23 | 5.4519 | 212.8886 | 11.9037
2015-03-21 | 18 | 746.5833 | 4.6429 | 6.2796 | 218.2588 | 12.0027 | 10.67 | 6.1387 | 218.2559 | 11.7446
2015-03-21 01:00 | 21 | 746.2333 | 4.6547 | 5.5612 | 218.3259 | 11.6555 | 10.23 | 5.4425 | 218.3191 | 11.5
2015-03-21 02:00 | 21 | 745.7583 | 4.2947 | 4.891 | 217.4934 | 10.9745 | 8.75 | 4.7991 | 217.4864 | 10.8176
2015-03-21 03:00 | 18 | 745.3417 | 4.2219 | 5.0281 | 221.5248 | 11.7252 | 8.79 | 4.8857 | 221.6986 | 11.5294
2015-03-21 04:00 | 17 | 745.6083 | 3.717 | 4.1228 | 231.9676 | 10.8358 | 8.03 | 4.0495 | 231.9008 | 10.7311
2015-03-21 05:00 | 15 | 746.1083 | 3.2422 | 3.0208 | 234.9253 | 11.0114 | 5.187 | 2.9605 | 234.7305 | 10.9297
2015-03-21 06:00 | 23 | 746.7583 | 3.1766 | 2.477 | 251.3467 | 12.4247 | 4.787 | 2.405 | 250.8156 | 12.2015
2015-03-21 07:00 | 49 | 747.35 | 5.9973 | 2.639 | 302.3256 | 20.2323 | 9.39 | 1.9942 | 313.538 | 19.0413
2015-03-21 08:00 | 33 | 748.175 | 8.27 | 5.3336 | 349.0209 | 24.7129 | 10.99 | 4.882 | 349.364 | 23.0524
2015-03-21 09:00 | 20 | 749.3583 | 7.831 | 5.3692 | 352.6863 | 25.4552 | 11.15 | 4.8847 | 352.1229 | 23.5177
2015-03-21 10:00 | 6 | 750.15 | 6.6206 | 4.697 | 10.3799 | 22.3748 | 9.83 | 4.3415 | 11.8231 | 20.9885
2015-03-21 11:00 | 6 | 750.425 | 6.0075 | 5.0089 | 15.7627 | 20.768 | 8.51 | 4.7117 | 16.0208 | 19.3212
2015-03-21 12:00 | 7 | 750.6167 | 5.6414 | 4.2328 | 25.4036 | 23.0735 | 8.79 | 3.8819 | 25.497 | 21.5551
2015-03-21 13:00 | 5 | 750.4833 | 4.8251 | 4.1847 | 27.7385 | 20.3844 | 8.19 | 3.9151 | 27.5137 | 19.2472
2015-03-21 14:00 | 2 | 750.5 | 4.1286 | 4.1147 | 52.1182 | 19.6479 | 7.867 | 3.8808 | 52.8527 | 18.4084
2015-03-21 15:00 | 0 | 750.7833 | 3.5118 | 4.0351 | 60.6409 | 16.9291 | 7.587 | 3.845 | 61.6253 | 16.2478
2015-03-21 16:00 | AN | 750.6083 | 2.7775 | 4.1578 | 39.0689 | 19.1856 | 7.347 | 3.928 | 39.1094 | 18.4557
2015-03-21 17:00 | AN | 750.95 | 1.8303 | 3.4646 | 45.0372 | 17.3826 | 7.307 | 3.2795 | 45.2042 | 16.8039
2015-03-21 18:00 | 1 | 751.4583 | 1.2438 | 2.6075 | 56.2645 | 14.8744 | 4.867 | 2.4981 | 56.5822 | 14.3048
2015-03-21 19:00 | 4 | 751.825 | 1.0674 | 2.1968 | 59.6511 | 13.8389 | 3.908 | 2.1189 | 59.4388 | 13.4388
2015-03-21 20:00 | 5 | 751.95 | 0.966 | 2.2312 | 78.0736 | 12.4816 | 4.027 | 2.1494 | 79.1637 | 12.077
2015-03-21 21:00 | 5 | 752.1167 | 1.0599 | 2.261 | 80.1716 | 10.333 | 3.748 | 2.191 | 80.1659 | 10.1567
2015-03-21 22:00 | 6 | 752.0917 | 1.1507 | 2.1958 | 70.0223 | 11.0973 | 4.067 | 2.1466 | 70.7705 | 10.9393
2015-03-21 23:00 | 6 | 751.875 | 1.1702 | 2.3838 | 71.4082 | 10.5287 | 4.227 | 2.3213 | 72.3981 | 10.4235

## NT_NE
North Terminal Northeast Site
DATE TIME | APM10 ug/m3
2015-03-15 | 11
2015-03-15 01:00 | 15
2015-03-15 02:00 | 20
2015-03-15 03:00 | 21
2015-03-15 04:00 | 17
2015-03-15 05:00 | 28
2015-03-15 06:00 | 35
2015-03-15 07:00 | 34
2015-03-15 08:00 | 39
2015-03-15 09:00 | 26.9167
2015-03-15 10:00 | 23.5
2015-03-15 11:00 | 46
2015-03-15 12:00 | 77
2015-03-15 13:00 | 75
2015-03-15 14:00 | 41
2015-03-15 15:00 | 30
2015-03-15 16:00 | 39
2015-03-15 17:00 | 26.8333
2015-03-15 18:00 | 39
2015-03-15 19:00 | 63
2015-03-15 20:00 | 46
2015-03-15 21:00 | 37.25
2015-03-15 22:00 | 20
2015-03-15 23:00 | 17
2015-03-16 | 13
2015-03-16 01:00 | 12
2015-03-16 02:00 | 24
2015-03-16 03:00 | 23
2015-03-16 04:00 | 45.5
2015-03-16 05:00 | 45
2015-03-16 06:00 | 51.5
2015-03-16 07:00 | 56
2015-03-16 08:00 | 55.3333
2015-03-16 09:00 | 50
2015-03-16 10:00 | 60
2015-03-16 11:00 | 60
2015-03-16 12:00 | 86
2015-03-16 13:00 | 127
2015-03-16 14:00 | 82
2015-03-16 15:00 | 59.5
2015-03-16 16:00 | 212
2015-03-16 17:00 | 41
2015-03-16 18:00 | 26
2015-03-16 19:00 | 22
2015-03-16 20:00 | 51
2015-03-16 21:00 | 62
2015-03-16 22:00 | 29.3333
2015-03-16 23:00 | 12.1667
2015-03-17 | 8
2015-03-17 01:00 | 7.1667
2015-03-17 02:00 | 5
2015-03-17 03:00 | 7.25
2015-03-17 04:00 | 26
2015-03-17 05:00 | 17
2015-03-17 06:00 | 32
2015-03-17 07:00 | 27
2015-03-17 08:00 | 24.4167
2015-03-17 09:00 | 20.0833
2015-03-17 10:00 | 9
2015-03-17 11:00 | 10.1667
2015-03-17 12:00 | 12.9167
2015-03-17 13:00 | 22
2015-03-17 14:00 | 10
2015-03-17 15:00 | 8.1667
2015-03-17 16:00 | 6
2015-03-17 17:00 | 5
2015-03-17 18:00 | 2.8333
2015-03-17 19:00 | 7
2015-03-17 20:00 | 21
2015-03-17 21:00 | 64
2015-03-17 22:00 | 46
2015-03-17 23:00 | 76.9167
2015-03-18 | 61
2015-03-18 01:00 | 43
2015-03-18 02:00 | 49.1667
2015-03-18 03:00 | 34
2015-03-18 04:00 | 32.0833
2015-03-18 05:00 | 59
2015-03-18 06:00 | 67.1667
2015-03-18 07:00 | 79
2015-03-18 08:00 | 53.25
2015-03-18 09:00 | 36
2015-03-18 10:00 | 20
2015-03-18 11:00 | 18
2015-03-18 12:00 | 16
2015-03-18 13:00 | 20
2015-03-18 14:00 | 15
2015-03-18 15:00 | 11
2015-03-18 16:00 | 8.9167
2015-03-18 17:00 | 14
2015-03-18 18:00 | 43.3333
2015-03-18 19:00 | 24
2015-03-18 20:00 | 17.9167
2015-03-18 21:00 | 20
2015-03-18 22:00 | 50
2015-03-18 23:00 | 36
2015-03-19 | 32
2015-03-19 01:00 | 56
2015-03-19 02:00 | 48
2015-03-19 03:00 | 14
2015-03-19 04:00 | 57
2015-03-19 05:00 | 38.75
2015-03-19 06:00 | 25
2015-03-19 07:00 | 28.9167
2015-03-19 08:00 | 25
2015-03-19 09:00 | AZ
2015-03-19 10:00 | AZ
2015-03-19 11:00 | 33
2015-03-19 12:00 | 19.9167
2015-03-19 13:00 | 18
2015-03-19 14:00 | 25
2015-03-19 15:00 | 18
2015-03-19 16:00 | 19
2015-03-19 17:00 | 16
2015-03-19 18:00 | 15.25
2015-03-19 19:00 | 13.5833
2015-03-19 20:00 | 11
2015-03-19 21:00 | 24
2015-03-19 22:00 | 6
2015-03-19 23:00 | 10
2015-03-20 | 13
2015-03-20 01:00 | 11
2015-03-20 02:00 | 17.3333
2015-03-20 03:00 | 28
2015-03-20 04:00 | 29
2015-03-20 05:00 | 23
2015-03-20 06:00 | 33.8333
2015-03-20 07:00 | 37
2015-03-20 08:00 | 48
2015-03-20 09:00 | 43.6667
2015-03-20 10:00 | 41
2015-03-20 11:00 | 41
2015-03-20 12:00 | 51
2015-03-20 13:00 | 55
2015-03-20 14:00 | 67
2015-03-20 15:00 | 31.1667
2015-03-20 16:00 | 25
2015-03-20 17:00 | 22.0833
2015-03-20 18:00 | 25
2015-03-20 19:00 | 41.0833
2015-03-20 20:00 | 32
2015-03-20 21:00 | 32
2015-03-20 22:00 | 30.0833
2015-03-20 23:00 | 28
2015-03-21 | 25
2015-03-21 01:00 | 21.25
2015-03-21 02:00 | 17
2015-03-21 03:00 | 15
2015-03-21 04:00 | 19
2015-03-21 05:00 | 21
2015-03-21 06:00 | 21
2015-03-21 07:00 | 32
2015-03-21 08:00 | 44.1667
2015-03-21 09:00 | 28
2015-03-21 10:00 | 8
2015-03-21 11:00 | 11
2015-03-21 12:00 | 8
2015-03-21 13:00 | 9
2015-03-21 14:00 | 8
2015-03-21 15:00 | 6
2015-03-21 16:00 | 4
2015-03-21 17:00 | 10
2015-03-21 18:00 | 8
2015-03-21 19:00 | 6
2015-03-21 20:00 | 7
2015-03-21 21:00 | 7
2015-03-21 22:00 | 6.5
2015-03-21 23:00 | 4

## NT_SE
North Terminal Southeast Site
DATE TIME | APM10 ug/m3
2015-03-15 | 11.25
2015-03-15 01:00 | 17
2015-03-15 02:00 | 19
2015-03-15 03:00 | 23
2015-03-15 04:00 | 29
2015-03-15 05:00 | 33
2015-03-15 06:00 | 37
2015-03-15 07:00 | 35
2015-03-15 08:00 | 40
2015-03-15 09:00 | 23
2015-03-15 10:00 | 25
2015-03-15 11:00 | 29.8333
2015-03-15 12:00 | 55
2015-03-15 13:00 | 55
2015-03-15 14:00 | 43
2015-03-15 15:00 | 47
2015-03-15 16:00 | 44.75
2015-03-15 17:00 | 32
2015-03-15 18:00 | 70
2015-03-15 19:00 | 47
2015-03-15 20:00 | 87
2015-03-15 21:00 | 84
2015-03-15 22:00 | 53
2015-03-15 23:00 | 33
2015-03-16 | 35.6667
2015-03-16 01:00 | 38
2015-03-16 02:00 | 37
2015-03-16 03:00 | 42
2015-03-16 04:00 | 48
2015-03-16 05:00 | 38
2015-03-16 06:00 | 55
2015-03-16 07:00 | 96.5833
2015-03-16 08:00 | 79
2015-03-16 09:00 | 52
2015-03-16 10:00 | 58.0833
2015-03-16 11:00 | 71
2015-03-16 12:00 | 235.5833
2015-03-16 13:00 | 152
2015-03-16 14:00 | 94
2015-03-16 15:00 | 58
2015-03-16 16:00 | 286.3333
2015-03-16 17:00 | 42
2015-03-16 18:00 | 30
2015-03-16 19:00 | 30
2015-03-16 20:00 | 102
2015-03-16 21:00 | 147
2015-03-16 22:00 | 59
2015-03-16 23:00 | 34.8333
2015-03-17 | 5
2015-03-17 01:00 | 7.3333
2015-03-17 02:00 | 6.9167
2015-03-17 03:00 | 13
2015-03-17 04:00 | 37
2015-03-17 05:00 | 46
2015-03-17 06:00 | 113
2015-03-17 07:00 | 147
2015-03-17 08:00 | 64
2015-03-17 09:00 | 46
2015-03-17 10:00 | 35
2015-03-17 11:00 | 26
2015-03-17 12:00 | 10
2015-03-17 13:00 | 14
2015-03-17 14:00 | 10
2015-03-17 15:00 | 6
2015-03-17 16:00 | 8
2015-03-17 17:00 | 8.0833
2015-03-17 18:00 | 11
2015-03-17 19:00 | 15
2015-03-17 20:00 | 33
2015-03-17 21:00 | 30
2015-03-17 22:00 | 40.1667
2015-03-17 23:00 | 62
2015-03-18 | 76
2015-03-18 01:00 | 44
2015-03-18 02:00 | 55
2015-03-18 03:00 | 37
2015-03-18 04:00 | 44
2015-03-18 05:00 | 57
2015-03-18 06:00 | 84
2015-03-18 07:00 | 74
2015-03-18 08:00 | 73
2015-03-18 09:00 | 27
2015-03-18 10:00 | 34
2015-03-18 11:00 | 23.0833
2015-03-18 12:00 | 18
2015-03-18 13:00 | 16
2015-03-18 14:00 | 18
2015-03-18 15:00 | 11
2015-03-18 16:00 | 8.0833
2015-03-18 17:00 | 27
2015-03-18 18:00 | 52.3333
2015-03-18 19:00 | 35.75
2015-03-18 20:00 | 15.6667
2015-03-18 21:00 | 27
2015-03-18 22:00 | 47
2015-03-18 23:00 | 32
2015-03-19 | 30.8333
2015-03-19 01:00 | 40
2015-03-19 02:00 | 54.0833
2015-03-19 03:00 | 24
2015-03-19 04:00 | 26
2015-03-19 05:00 | 30
2015-03-19 06:00 | 20.5833
2015-03-19 07:00 | 20
2015-03-19 08:00 | 24
2015-03-19 09:00 | AZ
2015-03-19 10:00 | AZ
2015-03-19 11:00 | 28
2015-03-19 12:00 | 21
2015-03-19 13:00 | 13
2015-03-19 14:00 | 18
2015-03-19 15:00 | 19
2015-03-19 16:00 | 26
2015-03-19 17:00 | 17
2015-03-19 18:00 | 15.6667
2015-03-19 19:00 | 11
2015-03-19 20:00 | 10
2015-03-19 21:00 | 41.25
2015-03-19 22:00 | 15
2015-03-19 23:00 | 14
2015-03-20 | 16.6667
2015-03-20 01:00 | 16
2015-03-20 02:00 | 21
2015-03-20 03:00 | 33
2015-03-20 04:00 | 34
2015-03-20 05:00 | 32
2015-03-20 06:00 | 52
2015-03-20 07:00 | 43.5833
2015-03-20 08:00 | 59.75
2015-03-20 09:00 | 51
2015-03-20 10:00 | 47.0833
2015-03-20 11:00 | 49
2015-03-20 12:00 | 74.0833
2015-03-20 13:00 | 63
2015-03-20 14:00 | 104
2015-03-20 15:00 | 79.9167
2015-03-20 16:00 | 43
2015-03-20 17:00 | 29
2015-03-20 18:00 | 45
2015-03-20 19:00 | 43
2015-03-20 20:00 | 45
2015-03-20 21:00 | 33
2015-03-20 22:00 | 32
2015-03-20 23:00 | 30
2015-03-21 | 33
2015-03-21 01:00 | 25.6667
2015-03-21 02:00 | 24
2015-03-21 03:00 | 22.1667
2015-03-21 04:00 | 29
2015-03-21 05:00 | 26
2015-03-21 06:00 | 29
2015-03-21 07:00 | 28.5833
2015-03-21 08:00 | 25
2015-03-21 09:00 | 31
2015-03-21 10:00 | 13
2015-03-21 11:00 | 9.0833
2015-03-21 12:00 | 10
2015-03-21 13:00 | 10
2015-03-21 14:00 | 7.25
2015-03-21 15:00 | 7
2015-03-21 16:00 | 6.5833
2015-03-21 17:00 | 6
2015-03-21 18:00 | 6
2015-03-21 19:00 | 10
2015-03-21 20:00 | 8
2015-03-21 21:00 | 6
2015-03-21 22:00 | 9
2015-03-21 23:00 | 8.1667

## NT_SW
North Terminal Southwest Site
DATE TIME | APM10 ug/m3
2015-03-15 | 14
2015-03-15 01:00 | 18.8333
2015-03-15 02:00 | 33
2015-03-15 03:00 | 23
2015-03-15 04:00 | 35.9167
2015-03-15 05:00 | 46
2015-03-15 06:00 | 53.25
2015-03-15 07:00 | 32
2015-03-15 08:00 | 28
2015-03-15 09:00 | 72.0833
2015-03-15 10:00 | 41
2015-03-15 11:00 | 32
2015-03-15 12:00 | 127
2015-03-15 13:00 | 56.0833
2015-03-15 14:00 | 36
2015-03-15 15:00 | 29.0833
2015-03-15 16:00 | 46
2015-03-15 17:00 | 43
2015-03-15 18:00 | 48
2015-03-15 19:00 | 31.1667
2015-03-15 20:00 | 78
2015-03-15 21:00 | 113
2015-03-15 22:00 | 95
2015-03-15 23:00 | 54
2015-03-16 | 80
2015-03-16 01:00 | 64.5833
2015-03-16 02:00 | 39
2015-03-16 03:00 | 46.25
2015-03-16 04:00 | 54
2015-03-16 05:00 | 79.75
2015-03-16 06:00 | 62
2015-03-16 07:00 | 55.0833
2015-03-16 08:00 | 53
2015-03-16 09:00 | 64
2015-03-16 10:00 | 67
2015-03-16 11:00 | 68
2015-03-16 12:00 | 134
2015-03-16 13:00 | 168.9167
2015-03-16 14:00 | 81.75
2015-03-16 15:00 | 66.5833
2015-03-16 16:00 | 270.3333
2015-03-16 17:00 | 26.1667
2015-03-16 18:00 | 23
2015-03-16 19:00 | 20
2015-03-16 20:00 | 112
2015-03-16 21:00 | 100
2015-03-16 22:00 | 80.8333
2015-03-16 23:00 | 35.1667
2015-03-17 | 14
2015-03-17 01:00 | 18
2015-03-17 02:00 | 19.25
2015-03-17 03:00 | 23
2015-03-17 04:00 | 158
2015-03-17 05:00 | 105
2015-03-17 06:00 | 152
2015-03-17 07:00 | 175
2015-03-17 08:00 | 98.0833
2015-03-17 09:00 | 51
2015-03-17 10:00 | 49
2015-03-17 11:00 | 593
2015-03-17 12:00 | 49
2015-03-17 13:00 | 62
2015-03-17 14:00 | 19
2015-03-17 15:00 | 8
2015-03-17 16:00 | 10
2015-03-17 17:00 | 9.75
2015-03-17 18:00 | 19.8333
2015-03-17 19:00 | 17
2015-03-17 20:00 | 37.1667
2015-03-17 21:00 | 78
2015-03-17 22:00 | 73
2015-03-17 23:00 | 86.4167
2015-03-18 | 67
2015-03-18 01:00 | 44
2015-03-18 02:00 | 70
2015-03-18 03:00 | 49
2015-03-18 04:00 | 52
2015-03-18 05:00 | 165
2015-03-18 06:00 | 169.9167
2015-03-18 07:00 | 59
2015-03-18 08:00 | 62.5833
2015-03-18 09:00 | 28
2015-03-18 10:00 | 53.6667
2015-03-18 11:00 | 40.4167
2015-03-18 12:00 | 38
2015-03-18 13:00 | 31
2015-03-18 14:00 | 81
2015-03-18 15:00 | 27.9167
2015-03-18 16:00 | 11
2015-03-18 17:00 | 35
2015-03-18 18:00 | 50
2015-03-18 19:00 | 43
2015-03-18 20:00 | 15.75
2015-03-18 21:00 | 100.9167
2015-03-18 22:00 | 90
2015-03-18 23:00 | 98
2015-03-19 | 39.0833
2015-03-19 01:00 | 56
2015-03-19 02:00 | 102
2015-03-19 03:00 | 86
2015-03-19 04:00 | 30
2015-03-19 05:00 | 32
2015-03-19 06:00 | 102
2015-03-19 07:00 | 57
2015-03-19 08:00 | 30
2015-03-19 09:00 | AZ
2015-03-19 10:00 | AZ
2015-03-19 11:00 | 24
2015-03-19 12:00 | 28
2015-03-19 13:00 | 23
2015-03-19 14:00 | 29
2015-03-19 15:00 | 25
2015-03-19 16:00 | 22
2015-03-19 17:00 | 16
2015-03-19 18:00 | 15.9167
2015-03-19 19:00 | 20
2015-03-19 20:00 | 18
2015-03-19 21:00 | 79
2015-03-19 22:00 | 29
2015-03-19 23:00 | 20
2015-03-20 | 21.75
2015-03-20 01:00 | 22
2015-03-20 02:00 | 31.0833
2015-03-20 03:00 | 49
2015-03-20 04:00 | 44
2015-03-20 05:00 | 49
2015-03-20 06:00 | 35.25
2015-03-20 07:00 | 39
2015-03-20 08:00 | 48
2015-03-20 09:00 | 45.5833
2015-03-20 10:00 | 68
2015-03-20 11:00 | 53
2015-03-20 12:00 | 51
2015-03-20 13:00 | 55
2015-03-20 14:00 | 76
2015-03-20 15:00 | 47.75
2015-03-20 16:00 | 27
2015-03-20 17:00 | 30
2015-03-20 18:00 | 27
2015-03-20 19:00 | 36
2015-03-20 20:00 | 39
2015-03-20 21:00 | 33
2015-03-20 22:00 | 30
2015-03-20 23:00 | 33.1667
2015-03-21 | 28
2015-03-21 01:00 | 23
2015-03-21 02:00 | 23.4167
2015-03-21 03:00 | 17
2015-03-21 04:00 | 22
2015-03-21 05:00 | 25.6667
2015-03-21 06:00 | 29
2015-03-21 07:00 | 34.8333
2015-03-21 08:00 | 30.3333
2015-03-21 09:00 | 25.75
2015-03-21 10:00 | 16
2015-03-21 11:00 | 13
2015-03-21 12:00 | 16
2015-03-21 13:00 | 14.1667
2015-03-21 14:00 | 16.9167
2015-03-21 15:00 | 11
2015-03-21 16:00 | 29
2015-03-21 17:00 | 0.16667
2015-03-21 18:00 | 6
2015-03-21 19:00 | 12
2015-03-21 20:00 | 11.5
2015-03-21 21:00 | 11
2015-03-21 22:00 | 10
2015-03-21 23:00 | 12

## ST_NW
South Terminal Northwest Site
DATE TIME | APM10 ug/m3
2015-03-15 | 12
2015-03-15 01:00 | 11
2015-03-15 02:00 | 15.1667
2015-03-15 03:00 | 26.3333
2015-03-15 04:00 | 20.3333
2015-03-15 05:00 | 25.5
2015-03-15 06:00 | 30
2015-03-15 07:00 | 28
2015-03-15 08:00 | 26
2015-03-15 09:00 | 10
2015-03-15 10:00 | 20.5
2015-03-15 11:00 | 37
2015-03-15 12:00 | 34
2015-03-15 13:00 | 20
2015-03-15 14:00 | 54
2015-03-15 15:00 | 38
2015-03-15 16:00 | 11
2015-03-15 17:00 | 11
2015-03-15 18:00 | 35
2015-03-15 19:00 | 24
2015-03-15 20:00 | 13
2015-03-15 21:00 | 13
2015-03-15 22:00 | 10
2015-03-15 23:00 | 9.0833
2015-03-16 | 9
2015-03-16 01:00 | 11
2015-03-16 02:00 | 14
2015-03-16 03:00 | 18.1667
2015-03-16 04:00 | 34
2015-03-16 05:00 | 43
2015-03-16 06:00 | 44.4167
2015-03-16 07:00 | 46
2015-03-16 08:00 | 38.75
2015-03-16 09:00 | 30
2015-03-16 10:00 | 38
2015-03-16 11:00 | 35
2015-03-16 12:00 | 41.25
2015-03-16 13:00 | 61
2015-03-16 14:00 | 57
2015-03-16 15:00 | 60
2015-03-16 16:00 | 56
2015-03-16 17:00 | 32.75
2015-03-16 18:00 | 15
2015-03-16 19:00 | 18.25
2015-03-16 20:00 | 79.8333
2015-03-16 21:00 | 65
2015-03-16 22:00 | 26
2015-03-16 23:00 | 16
2015-03-17 | 5
2015-03-17 01:00 | 6
2015-03-17 02:00 | 6
2015-03-17 03:00 | 9
2015-03-17 04:00 | 46.5833
2015-03-17 05:00 | 36
2015-03-17 06:00 | 106.1667
2015-03-17 07:00 | 84
2015-03-17 08:00 | 46
2015-03-17 09:00 | 30
2015-03-17 10:00 | 27
2015-03-17 11:00 | 15
2015-03-17 12:00 | 7.9167
2015-03-17 13:00 | 12
2015-03-17 14:00 | 10
2015-03-17 15:00 | 6
2015-03-17 16:00 | 4
2015-03-17 17:00 | 7
2015-03-17 18:00 | 7
2015-03-17 19:00 | 82.25
2015-03-17 20:00 | 19.25
2015-03-17 21:00 | 28
2015-03-17 22:00 | 34
2015-03-17 23:00 | 50.1667
2015-03-18 | 51.5833
2015-03-18 01:00 | 31
2015-03-18 02:00 | 29.0833
2015-03-18 03:00 | 23.75
2015-03-18 04:00 | 20
2015-03-18 05:00 | 28
2015-03-18 06:00 | 42.75
2015-03-18 07:00 | 46
2015-03-18 08:00 | 42
2015-03-18 09:00 | 15.9167
2015-03-18 10:00 | 21.4167
2015-03-18 11:00 | 18
2015-03-18 12:00 | 21
2015-03-18 13:00 | 23
2015-03-18 14:00 | 21
2015-03-18 15:00 | 17.25
2015-03-18 16:00 | 13
2015-03-18 17:00 | 41
2015-03-18 18:00 | 23
2015-03-18 19:00 | 44.0833
2015-03-18 20:00 | 27
2015-03-18 21:00 | 19.8333
2015-03-18 22:00 | 53
2015-03-18 23:00 | 53
2015-03-19 | 33.4167
2015-03-19 01:00 | 46
2015-03-19 02:00 | 22.8333
2015-03-19 03:00 | 17
2015-03-19 04:00 | 16
2015-03-19 05:00 | 46
2015-03-19 06:00 | 69
2015-03-19 07:00 | 43
2015-03-19 08:00 | 55.8333
2015-03-19 09:00 | 84
2015-03-19 10:00 | 131
2015-03-19 11:00 | AZ
2015-03-19 12:00 | AZ
2015-03-19 13:00 | 36
2015-03-19 14:00 | 30
2015-03-19 15:00 | 32.9167
2015-03-19 16:00 | 25
2015-03-19 17:00 | 25.25
2015-03-19 18:00 | 14
2015-03-19 19:00 | 14
2015-03-19 20:00 | 14
2015-03-19 21:00 | 31.5
2015-03-19 22:00 | 12
2015-03-19 23:00 | 11
2015-03-20 | 14
2015-03-20 01:00 | 12.1667
2015-03-20 02:00 | 16.6667
2015-03-20 03:00 | 28
2015-03-20 04:00 | 22
2015-03-20 05:00 | 28.75
2015-03-20 06:00 | 26.6667
2015-03-20 07:00 | 27.0833
2015-03-20 08:00 | 32
2015-03-20 09:00 | 33.75
2015-03-20 10:00 | 34
2015-03-20 11:00 | 37.8333
2015-03-20 12:00 | 32
2015-03-20 13:00 | 35
2015-03-20 14:00 | 52.75
2015-03-20 15:00 | 23
2015-03-20 16:00 | 22
2015-03-20 17:00 | 26
2015-03-20 18:00 | 23.4167
2015-03-20 19:00 | 35
2015-03-20 20:00 | 32.75
2015-03-20 21:00 | 27
2015-03-20 22:00 | 21
2015-03-20 23:00 | 23.5833
2015-03-21 | 23
2015-03-21 01:00 | 18
2015-03-21 02:00 | 17.4167
2015-03-21 03:00 | 12
2015-03-21 04:00 | 25
2015-03-21 05:00 | 25.0833
2015-03-21 06:00 | 26
2015-03-21 07:00 | 27
2015-03-21 08:00 | 62.4167
2015-03-21 09:00 | 49
2015-03-21 10:00 | 20
2015-03-21 11:00 | 9
2015-03-21 12:00 | 7
2015-03-21 13:00 | 5
2015-03-21 14:00 | 7
2015-03-21 15:00 | 5
2015-03-21 16:00 | 3.4167
2015-03-21 17:00 | 6.4167
2015-03-21 18:00 | 4
2015-03-21 19:00 | 7
2015-03-21 20:00 | 5
2015-03-21 21:00 | 6
2015-03-21 22:00 | 6
2015-03-21 23:00 | 7

## ST_North
South Terminal North Site
DATE TIME | APM10 ug/m3
2015-03-15 | 9
2015-03-15 01:00 | 14
2015-03-15 02:00 | 15
2015-03-15 03:00 | 24
2015-03-15 04:00 | 15
2015-03-15 05:00 | 25
2015-03-15 06:00 | 32
2015-03-15 07:00 | 28
2015-03-15 08:00 | 43
2015-03-15 09:00 | 37
2015-03-15 10:00 | 32
2015-03-15 11:00 | 29.0833
2015-03-15 12:00 | 56
2015-03-15 13:00 | 44
2015-03-15 14:00 | 29.3333
2015-03-15 15:00 | 67
2015-03-15 16:00 | 46.5
2015-03-15 17:00 | 51.0833
2015-03-15 18:00 | 121
2015-03-15 19:00 | 39.6667
2015-03-15 20:00 | 31
2015-03-15 21:00 | 30
2015-03-15 22:00 | 22
2015-03-15 23:00 | 20
2015-03-16 | 18
2015-03-16 01:00 | 14
2015-03-16 02:00 | 17
2015-03-16 03:00 | 23
2015-03-16 04:00 | 43
2015-03-16 05:00 | 48
2015-03-16 06:00 | 58
2015-03-16 07:00 | 55
2015-03-16 08:00 | 42
2015-03-16 09:00 | 41
2015-03-16 10:00 | 37.75
2015-03-16 11:00 | 48
2015-03-16 12:00 | 62
2015-03-16 13:00 | 101
2015-03-16 14:00 | 75
2015-03-16 15:00 | 72
2015-03-16 16:00 | 79
2015-03-16 17:00 | 29.25
2015-03-16 18:00 | 17
2015-03-16 19:00 | 20
2015-03-16 20:00 | 163
2015-03-16 21:00 | 204.3333
2015-03-16 22:00 | 51
2015-03-16 23:00 | 67.3333
2015-03-17 | 7.6667
2015-03-17 01:00 | 5
2015-03-17 02:00 | 4
2015-03-17 03:00 | 16.0833
2015-03-17 04:00 | 71
2015-03-17 05:00 | 59
2015-03-17 06:00 | 257
2015-03-17 07:00 | 159
2015-03-17 08:00 | 130
2015-03-17 09:00 | 59
2015-03-17 10:00 | 60.4167
2015-03-17 11:00 | 25
2015-03-17 12:00 | 33
2015-03-17 13:00 | 30
2015-03-17 14:00 | 15.0833
2015-03-17 15:00 | 8
2015-03-17 16:00 | 4
2015-03-17 17:00 | 2
2015-03-17 18:00 | 6.3333
2015-03-17 19:00 | 15
2015-03-17 20:00 | 26
2015-03-17 21:00 | 22
2015-03-17 22:00 | 27.3333
2015-03-17 23:00 | 48.75
2015-03-18 | 51
2015-03-18 01:00 | 37
2015-03-18 02:00 | 32
2015-03-18 03:00 | 26.5
2015-03-18 04:00 | 18.0833
2015-03-18 05:00 | 24
2015-03-18 06:00 | 42
2015-03-18 07:00 | 48.5
2015-03-18 08:00 | 37
2015-03-18 09:00 | 21
2015-03-18 10:00 | 105
2015-03-18 11:00 | 36
2015-03-18 12:00 | 20
2015-03-18 13:00 | 17
2015-03-18 14:00 | 13
2015-03-18 15:00 | 8
2015-03-18 16:00 | 8
2015-03-18 17:00 | 39
2015-03-18 18:00 | 18
2015-03-18 19:00 | 43
2015-03-18 20:00 | 18
2015-03-18 21:00 | 25
2015-03-18 22:00 | 62
2015-03-18 23:00 | 33.0833
2015-03-19 | 29
2015-03-19 01:00 | 20
2015-03-19 02:00 | 16
2015-03-19 03:00 | 16
2015-03-19 04:00 | 15
2015-03-19 05:00 | 40.5
2015-03-19 06:00 | 24.3333
2015-03-19 07:00 | 23
2015-03-19 08:00 | 23.9167
2015-03-19 09:00 | 35
2015-03-19 10:00 | 43
2015-03-19 11:00 | AZ
2015-03-19 12:00 | AZ
2015-03-19 13:00 | 30
2015-03-19 14:00 | 22
2015-03-19 15:00 | 19.0833
2015-03-19 16:00 | 17
2015-03-19 17:00 | 18
2015-03-19 18:00 | 10
2015-03-19 19:00 | 10
2015-03-19 20:00 | 18
2015-03-19 21:00 | 29
2015-03-19 22:00 | 12
2015-03-19 23:00 | 9
2015-03-20 | 9.1667
2015-03-20 01:00 | 12.75
2015-03-20 02:00 | 15
2015-03-20 03:00 | 20
2015-03-20 04:00 | 23
2015-03-20 05:00 | 24
2015-03-20 06:00 | 22
2015-03-20 07:00 | 28
2015-03-20 08:00 | 32
2015-03-20 09:00 | 30
2015-03-20 10:00 | 34
2015-03-20 11:00 | 36.0833
2015-03-20 12:00 | 35.1667
2015-03-20 13:00 | 40.4167
2015-03-20 14:00 | 47
2015-03-20 15:00 | 26.5833
2015-03-20 16:00 | 18
2015-03-20 17:00 | 22
2015-03-20 18:00 | 22.75
2015-03-20 19:00 | 34
2015-03-20 20:00 | 38
2015-03-20 21:00 | 26
2015-03-20 22:00 | 26.5833
2015-03-20 23:00 | 22
2015-03-21 | 14.0833
2015-03-21 01:00 | 18
2015-03-21 02:00 | 16
2015-03-21 03:00 | 18
2015-03-21 04:00 | 22
2015-03-21 05:00 | 24
2015-03-21 06:00 | 18.1667
2015-03-21 07:00 | 27
2015-03-21 08:00 | 180
2015-03-21 09:00 | 86
2015-03-21 10:00 | 14
2015-03-21 11:00 | 11
2015-03-21 12:00 | 10
2015-03-21 13:00 | 5.8333
2015-03-21 14:00 | 4
2015-03-21 15:00 | 3
2015-03-21 16:00 | 5
2015-03-21 17:00 | 6
2015-03-21 18:00 | 7
2015-03-21 19:00 | 6.4167
2015-03-21 20:00 | 7
2015-03-21 21:00 | 6
2015-03-21 22:00 | 4
2015-03-21 23:00 | 5

## ST_NE
South Terminal Northeast Site
DATE TIME | APM10 ug/m3
2015-03-15 | 9
2015-03-15 01:00 | 9.0833
2015-03-15 02:00 | 12.25
2015-03-15 03:00 | 22.0833
2015-03-15 04:00 | 21
2015-03-15 05:00 | 21.0833
2015-03-15 06:00 | 24
2015-03-15 07:00 | 53
2015-03-15 08:00 | 28
2015-03-15 09:00 | 27
2015-03-15 10:00 | 29.75
2015-03-15 11:00 | 53
2015-03-15 12:00 | 103
2015-03-15 13:00 | 84
2015-03-15 14:00 | 57.3333
2015-03-15 15:00 | 42.6667
2015-03-15 16:00 | 53.9167
2015-03-15 17:00 | 34
2015-03-15 18:00 | 54
2015-03-15 19:00 | 54.9167
2015-03-15 20:00 | 24
2015-03-15 21:00 | 17
2015-03-15 22:00 | 10.8333
2015-03-15 23:00 | 10.0833
2015-03-16 | 11
2015-03-16 01:00 | 9
2015-03-16 02:00 | 17
2015-03-16 03:00 | 19
2015-03-16 04:00 | AV
2015-03-16 05:00 | AV
2015-03-16 06:00 | 63
2015-03-16 07:00 | 52.8333
2015-03-16 08:00 | 40.1667
2015-03-16 09:00 | 36
2015-03-16 10:00 | 45.5
2015-03-16 11:00 | 45
2015-03-16 12:00 | 92
2015-03-16 13:00 | 155
2015-03-16 14:00 | 86
2015-03-16 15:00 | 72
2015-03-16 16:00 | 145
2015-03-16 17:00 | 40
2015-03-16 18:00 | 17
2015-03-16 19:00 | 30
2015-03-16 20:00 | 117.0833
2015-03-16 21:00 | 213.0833
2015-03-16 22:00 | 59
2015-03-16 23:00 | 90
2015-03-17 | 3
2015-03-17 01:00 | 3
2015-03-17 02:00 | 2
2015-03-17 03:00 | 22
2015-03-17 04:00 | 142
2015-03-17 05:00 | 139
2015-03-17 06:00 | 355
2015-03-17 07:00 | 380
2015-03-17 08:00 | 344
2015-03-17 09:00 | 87.3333
2015-03-17 10:00 | 106
2015-03-17 11:00 | 56
2015-03-17 12:00 | 42
2015-03-17 13:00 | 18
2015-03-17 14:00 | 6
2015-03-17 15:00 | 6
2015-03-17 16:00 | 4
2015-03-17 17:00 | 3
2015-03-17 18:00 | 1.0833
2015-03-17 19:00 | 13
2015-03-17 20:00 | 14.8333
2015-03-17 21:00 | 23
2015-03-17 22:00 | 20.0833
2015-03-17 23:00 | 44
2015-03-18 | 50
2015-03-18 01:00 | 27
2015-03-18 02:00 | 26
2015-03-18 03:00 | 20.9167
2015-03-18 04:00 | 21
2015-03-18 05:00 | 29.9167
2015-03-18 06:00 | 39
2015-03-18 07:00 | 45.5
2015-03-18 08:00 | 40
2015-03-18 09:00 | 21
2015-03-18 10:00 | 23
2015-03-18 11:00 | 13.4167
2015-03-18 12:00 | 13
2015-03-18 13:00 | 16
2015-03-18 14:00 | 15
2015-03-18 15:00 | 12
2015-03-18 16:00 | 13
2015-03-18 17:00 | 40
2015-03-18 18:00 | 21
2015-03-18 19:00 | 43
2015-03-18 20:00 | 22
2015-03-18 21:00 | 19
2015-03-18 22:00 | 53
2015-03-18 23:00 | 31.0833
2015-03-19 | 32
2015-03-19 01:00 | 26
2015-03-19 02:00 | 19
2015-03-19 03:00 | 15
2015-03-19 04:00 | 20
2015-03-19 05:00 | 42
2015-03-19 06:00 | 20
2015-03-19 07:00 | 24.1667
2015-03-19 08:00 | 19.75
2015-03-19 09:00 | 36
2015-03-19 10:00 | 34
2015-03-19 11:00 | AZ
2015-03-19 12:00 | AZ
2015-03-19 13:00 | 43
2015-03-19 14:00 | 22
2015-03-19 15:00 | 20
2015-03-19 16:00 | 18.4167
2015-03-19 17:00 | 15
2015-03-19 18:00 | 7
2015-03-19 19:00 | 12
2015-03-19 20:00 | 12
2015-03-19 21:00 | 28
2015-03-19 22:00 | 13
2015-03-19 23:00 | 15
2015-03-20 | 8.9167
2015-03-20 01:00 | 13
2015-03-20 02:00 | 12
2015-03-20 03:00 | 22.1667
2015-03-20 04:00 | 21
2015-03-20 05:00 | 24
2015-03-20 06:00 | 36.9167
2015-03-20 07:00 | 30
2015-03-20 08:00 | 40
2015-03-20 09:00 | 34
2015-03-20 10:00 | 33
2015-03-20 11:00 | 37.75
2015-03-20 12:00 | 42.75
2015-03-20 13:00 | 45
2015-03-20 14:00 | 59
2015-03-20 15:00 | 35
2015-03-20 16:00 | 33
2015-03-20 17:00 | 36.5833
2015-03-20 18:00 | 26
2015-03-20 19:00 | 36
2015-03-20 20:00 | 34
2015-03-20 21:00 | 30
2015-03-20 22:00 | 21.1667
2015-03-20 23:00 | 26
2015-03-21 | 23
2015-03-21 01:00 | 23.4167
2015-03-21 02:00 | 15
2015-03-21 03:00 | 22
2015-03-21 04:00 | 17.1667
2015-03-21 05:00 | 22
2015-03-21 06:00 | 26
2015-03-21 07:00 | 29.25
2015-03-21 08:00 | 201
2015-03-21 09:00 | 104.5
2015-03-21 10:00 | 15
2015-03-21 11:00 | 16
2015-03-21 12:00 | 19
2015-03-21 13:00 | 10.9167
2015-03-21 14:00 | 9.8333
2015-03-21 15:00 | 7.1667
2015-03-21 16:00 | 6
2015-03-21 17:00 | 6
2015-03-21 18:00 | 5
2015-03-21 19:00 | 5
2015-03-21 20:00 | 3.0833
2015-03-21 21:00 | 2.25
2015-03-21 22:00 | 0
2015-03-21 23:00 | 3

## ST_Met
South Terminal - Meteorological Site
DATE TIME | PRESS mmHg | TEMP DEG C | GUST m/s | WSPD m/s | WDIR deg | HZD-S deg | RESSP m/s | RESDR deg | HZD-V deg
2015-03-15 | 751.1583 | 2.1345 | AO | AO | AO | AO | AO | AO | AO
2015-03-15 01:00 | 751.2083 | 0.7605 | AO | AO | AO | AO | AO | AO | AO
2015-03-15 02:00 | 751.3917 | 0.141 | 1.268 | 0.41958 | 287.7279 | 9.698 | 0.20732 | 198.7723 | 9.6706
2015-03-15 03:00 | 751.7167 | -0.23883 | 1.428 | 0.522 | 270.2191 | 7.8154 | 0.47223 | 251.6115 | 7.7381
2015-03-15 04:00 | 751.875 | -0.73842 | AO | AO | AO | AO | AO | AO | AO
2015-03-15 05:00 | 752.3 | -0.91775 | 1.308 | 0.929 | 203.9413 | 10.3013 | 0.89583 | 203.3972 | 10.3205
2015-03-15 06:00 | 752.625 | -0.80658 | 1.588 | 0.8635 | 178.2831 | 7.009 | 0.83019 | 180.2917 | 6.8099
2015-03-15 07:00 | 752.9833 | 2.9538 | 2.748 | 1.4203 | 188.3497 | 11.6083 | 1.3747 | 187.6198 | 11.3731
2015-03-15 08:00 | 753.0667 | 5.7592 | 3.987 | 2.4813 | 185.4205 | 11.5298 | 2.4048 | 184.7453 | 11.1732
2015-03-15 09:00 | 752.8917 | 8.5727 | 5.547 | 3.468 | 183.5582 | 12.372 | 3.3607 | 183.8 | 12.093
2015-03-15 10:00 | 752.3417 | 10.975 | 7.507 | 4.132 | 185.2369 | 12.5769 | 4.0106 | 185.0756 | 12.1772
2015-03-15 11:00 | 752.0333 | 12.9775 | 9.11 | 4.9587 | 199.0923 | 12.4411 | 4.7242 | 199.9235 | 12.1818
2015-03-15 12:00 | 751.1083 | 14.2608 | 10.31 | 6.1517 | 197.1001 | 12.6529 | 5.9786 | 196.8491 | 12.3724
2015-03-15 13:00 | 750.425 | 15.1067 | 10.71 | 6.1157 | 206.9875 | 11.6415 | 5.928 | 207.031 | 11.3446
2015-03-15 14:00 | 749.3917 | 16.245 | 10.91 | 5.9898 | 198.9608 | 12.0514 | 5.8021 | 198.8169 | 11.9184
2015-03-15 15:00 | 748.2417 | 16.3267 | 11.39 | 6.4212 | 190.3408 | 9.975 | 6.3201 | 190.4454 | 9.7303
2015-03-15 16:00 | 747.7083 | 15.9292 | 12.07 | 6.2844 | 191.9568 | 10.1087 | 6.1767 | 192.0187 | 9.8953
2015-03-15 17:00 | 747.1167 | 15.355 | 11.75 | 6.7216 | 188.2081 | 9.7735 | 6.6203 | 188.4735 | 9.624
2015-03-15 18:00 | 746.5417 | 14.8883 | 12.51 | 7.7701 | 188.2072 | 8.9922 | 7.6651 | 188.3907 | 8.9559
2015-03-15 19:00 | 746.3917 | 14.4583 | 11.67 | 6.6365 | 204.5875 | 9.7902 | 6.5113 | 204.8771 | 9.7069
2015-03-15 20:00 | 746.3417 | 13.6608 | 12.83 | 7.4656 | 215.3756 | 9.1525 | 7.3706 | 215.5311 | 9.0028
2015-03-15 21:00 | 746.35 | 13.4267 | 11.67 | 6.558 | 223.1282 | 10.1778 | 6.4358 | 223.3654 | 10.0637
2015-03-15 22:00 | 746.1167 | 13.1033 | 10.79 | 6.274 | 225.926 | 10.2229 | 6.173 | 226.0066 | 10.1182
2015-03-15 23:00 | 745.725 | 12.9083 | 9.91 | 5.9223 | 223.1425 | 9.5985 | 5.8399 | 223.1515 | 9.4806
2015-03-16 | 745.6 | 13.0342 | 9.39 | 5.5062 | 226.5011 | 10.0256 | 5.4184 | 226.4009 | 9.8853
2015-03-16 01:00 | 745.3583 | 12.7825 | 7.867 | 4.8073 | 230.4843 | 9.3131 | 4.7408 | 230.4561 | 9.172
2015-03-16 02:00 | 745.1417 | 12.93 | 10.19 | 5.9079 | 241.1439 | 9.4582 | 5.8088 | 241.5247 | 9.3417
2015-03-16 03:00 | 745.1333 | 12.1642 | 9.19 | 4.8967 | 246.0845 | 8.9818 | 4.8345 | 246.3005 | 8.8903
2015-03-16 04:00 | 745.4583 | 11.065 | 5.187 | 3.2391 | 228.7501 | 8.2747 | 3.1871 | 229.0698 | 8.2028
2015-03-16 05:00 | 745.475 | 9.8708 | 4.707 | 3.0545 | 223.2179 | 8.1582 | 3.0181 | 223.1126 | 8.0627
2015-03-16 06:00 | 745.5667 | 9.3708 | 4.627 | 2.9414 | 221.5901 | 8.2411 | 2.9043 | 221.3466 | 8.1653
2015-03-16 07:00 | 745.8 | 10.8717 | 6.867 | 3.8917 | 229.4848 | 9.0641 | 3.8361 | 230.1631 | 8.9332
2015-03-16 08:00 | 745.7583 | 13.8625 | 8.03 | 5.1467 | 235.0676 | 7.8423 | 5.0985 | 235.1507 | 7.6823
2015-03-16 09:00 | 745.1417 | 16.1283 | 7.187 | 4.3509 | 229.2098 | 9.299 | 4.2654 | 229.919 | 9.1139
2015-03-16 10:00 | 744.5583 | 17.0917 | 7.507 | 4.8229 | 220.0011 | 10.9641 | 4.7264 | 219.8528 | 10.7785
2015-03-16 11:00 | 743.8167 | 18.1467 | 8.11 | 4.9288 | 216.2081 | 11.9048 | 4.8089 | 215.9572 | 11.5768
2015-03-16 12:00 | 742.95 | 19.1708 | 9.71 | 6.0898 | 201.036 | 10.8583 | 5.9584 | 201.3241 | 10.6072
2015-03-16 13:00 | 742.2417 | 20.14 | 11.63 | 6.4601 | 204.5744 | 12.9217 | 6.2849 | 204.5293 | 12.4857
2015-03-16 14:00 | 741.5167 | 21.0533 | 9.99 | 6.2336 | 200.2835 | 10.7931 | 6.0341 | 200.2437 | 10.6254
2015-03-16 15:00 | 740.3417 | 22.0333 | 13.39 | 6.479 | 189.5074 | 10.0243 | 6.3637 | 189.9139 | 9.9217
2015-03-16 16:00 | 740 | 21.4925 | 13.71 | 7.2651 | 201.4009 | 11.9986 | 7.1019 | 201.6678 | 11.7659
2015-03-16 17:00 | 740.05 | 20.6283 | 11.15 | 5.3487 | 204.2176 | 11.6639 | 5.2242 | 204.4712 | 11.358
2015-03-16 18:00 | 740.6083 | 19.325 | 9.43 | 4.7793 | 211.3764 | 11.1169 | 4.6887 | 211.981 | 10.845
2015-03-16 19:00 | 740.9333 | 18.3867 | 7.587 | 4.0518 | 197.4743 | 10.4642 | 3.9802 | 197.5435 | 10.3523
2015-03-16 20:00 | 742.1083 | 13.0317 | 13.19 | 5.6272 | 322.1814 | 20.5505 | 3.6901 | 334.9654 | 19.2588
2015-03-16 21:00 | 743.2833 | 7.6617 | 15.87 | 7.9099 | 342.5024 | 13.5473 | 7.7039 | 341.679 | 13.2049
2015-03-16 22:00 | 744.15 | 5.5534 | 16.67 | 8.8308 | 344.6698 | 15.6583 | 8.4959 | 344.286 | 15.5092
2015-03-16 23:00 | 745.1417 | 4.4715 | 16.11 | 8.8485 | 350.7441 | 19.0975 | 8.3603 | 350.0182 | 18.6959
2015-03-17 | 746.1333 | 4.0651 | 12.99 | 6.4253 | 357.249 | 17.2574 | 6.1427 | 356.8049 | 16.799
2015-03-17 01:00 | 747.0417 | 3.894 | 12.27 | 5.6496 | 5.8994 | 19.309 | 5.3438 | 5.7383 | 18.7023
2015-03-17 02:00 | 747.8083 | 3.6708 | 13.51 | 6.1311 | 3.2412 | 18.3419 | 5.8095 | 2.9334 | 18.2579
2015-03-17 03:00 | 748.875 | 3.2561 | 14.07 | 6.7506 | 7.1832 | 19.6999 | 6.3527 | 6.4556 | 19.2755
2015-03-17 04:00 | 750.1917 | 2.6656 | 17.14 | 7.8164 | 3.9606 | 19.6747 | 7.3616 | 3.5218 | 19.3628
2015-03-17 05:00 | 751.5083 | 2.0887 | 15.31 | 7.8577 | 359.8879 | 18.5013 | 7.467 | 359.8864 | 17.9287
2015-03-17 06:00 | 752.5833 | 1.7972 | 17.46 | 8.9042 | 0.080595 | 19.3304 | 8.4225 | 359.8049 | 18.7308
2015-03-17 07:00 | 753.6667 | 1.7192 | 16.23 | 8.3393 | 3.641 | 19.8647 | 7.8496 | 3.3461 | 19.3411
2015-03-17 08:00 | 754.2167 | 2.4303 | 15.15 | 8.3851 | 3.8325 | 19.6471 | 7.9136 | 3.5051 | 19.1592
2015-03-17 09:00 | 754.6583 | 3.0147 | 14.15 | 7.7038 | 2.8946 | 20.1195 | 7.2291 | 2.3651 | 19.3725
2015-03-17 10:00 | 755.1083 | 3.0906 | 13.55 | 7.535 | 358.7185 | 19.1758 | 7.0687 | 357.4934 | 18.8435
2015-03-17 11:00 | 755.1083 | 3.5446 | 11.43 | 5.9987 | 7.661 | 21.0878 | 5.5802 | 6.3273 | 20.243
2015-03-17 12:00 | 754.9 | 3.6383 | 9.23 | 5.0722 | 14.19 | 22.0989 | 4.6326 | 13.0494 | 21.3387
2015-03-17 13:00 | 754.6083 | 3.4112 | 9.43 | 4.7939 | 26.7371 | 20.9016 | 4.3815 | 26.3577 | 20.0304
2015-03-17 14:00 | 754.525 | 3.2741 | 7.147 | 3.8874 | 40.5596 | 21.2714 | 3.627 | 39.8261 | 20.111
2015-03-17 15:00 | 754.4917 | 2.9359 | 7.547 | 3.2739 | 48.7318 | 23.5651 | 2.979 | 47.4138 | 22.2403
2015-03-17 16:00 | 754.4 | 2.4493 | 5.267 | 2.3259 | 59.0659 | 26.0171 | 2.0809 | 58.4305 | 24.239
2015-03-17 17:00 | 754.3583 | 1.5121 | 3.828 | 1.7793 | 64.6862 | 23.2837 | 1.6327 | 63.6454 | 21.4596
2015-03-17 18:00 | 754.55 | 0.81142 | 2.228 | 0.78517 | 109.2065 | 20.7399 | 0.64301 | 101.3165 | 19.5536
2015-03-17 19:00 | 754.5667 | -0.018417 | 1.548 | 0.54492 | 142.2501 | 9.5354 | 0.4993 | 158.6266 | 9.203
2015-03-17 20:00 | 754.7167 | -0.27058 | 1.908 | 1.0913 | 223.6269 | 7.1184 | 1.0704 | 226.7815 | 6.8819
2015-03-17 21:00 | 754.6833 | -0.95508 | 0.948 | 0.44325 | 210.0773 | 9.6122 | 0.4028 | 205.7318 | 9.398
2015-03-17 22:00 | 754.4917 | -1.5498 | 2.028 | 0.94175 | 202.4839 | 14.4407 | 0.89871 | 207.1227 | 13.6076
2015-03-17 23:00 | 754.525 | -1.0224 | 2.428 | 1.4406 | 216.1026 | 6.0482 | 1.42 | 216.4484 | 5.9696
2015-03-18 | 754.6833 | -0.5555 | 2.788 | 1.6227 | 226.5307 | 7.4855 | 1.5944 | 224.6167 | 7.4245
2015-03-18 01:00 | 754.5583 | -0.28125 | 1.948 | 1.1471 | 247.4303 | 7.3496 | 1.1257 | 245.3463 | 7.2345
2015-03-18 02:00 | 754.3667 | -0.41308 | 2.428 | 1.3294 | 243.4381 | 7.1776 | 1.2801 | 240.1129 | 7.0752
2015-03-18 03:00 | 754.3833 | -0.9895 | 2.228 | 1.5762 | 235.666 | 3.9683 | 1.5685 | 235.2462 | 3.9302
2015-03-18 04:00 | 754.4917 | -1.19 | 2.308 | 1.3983 | 239.8527 | 6.1321 | 1.3825 | 240.1102 | 6.0959
2015-03-18 05:00 | 754.7167 | -1.3729 | 2.308 | 1.4274 | 252.5399 | 6.9894 | 1.3941 | 251.6293 | 6.9847
2015-03-18 06:00 | 754.8833 | -1.0936 | 2.348 | 1.7075 | 232.7149 | 6.6816 | 1.6745 | 233.1193 | 6.5869
2015-03-18 07:00 | 754.9 | 1.0709 | 2.028 | 1.2616 | 233.7236 | 12.8992 | 1.1939 | 231.9342 | 12.7989
2015-03-18 08:00 | 754.95 | 3.8199 | 3.148 | 1.9856 | 226.3324 | 10.6341 | 1.9313 | 226.2176 | 10.3224
2015-03-18 09:00 | 754.7583 | 5.5819 | 3.388 | 1.6398 | 229.1369 | 27.7413 | 0.83807 | 220.0807 | 25.5305
2015-03-18 10:00 | 754.45 | 6.9577 | 4.587 | 2.2714 | 18.604 | 26.3221 | 1.6965 | 25.9753 | 23.6486
2015-03-18 11:00 | 753.9667 | 7.5622 | 5.827 | 3.1319 | 60.6516 | 18.3483 | 2.913 | 59.1081 | 17.4725
2015-03-18 12:00 | 753.4667 | 7.9779 | 6.787 | 3.3565 | 64.3436 | 19.4189 | 3.1087 | 63.4768 | 18.5746
2015-03-18 13:00 | 753.05 | 7.3312 | 6.907 | 3.5133 | 52.1953 | 18.6146 | 3.3372 | 51.145 | 17.8251
2015-03-18 14:00 | 752.8 | 6.4588 | 5.707 | 2.9094 | 58.8299 | 20.2083 | 2.7315 | 57.7922 | 19.3281
2015-03-18 15:00 | 752.65 | 5.9428 | 5.387 | 2.6757 | 69.2074 | 19.417 | 2.5289 | 69.8317 | 18.4718
2015-03-18 16:00 | 752.425 | 5.4141 | 4.867 | 2.4332 | 75.9474 | 16.7909 | 2.3361 | 76.0267 | 15.9537
2015-03-18 17:00 | 752.4333 | 5.4988 | 3.908 | 1.2736 | 79.8145 | 20.9218 | 1.1985 | 80.2752 | 19.408
2015-03-18 18:00 | 752.5333 | 5.4281 | 1.748 | 0.56483 | 150.5876 | 14.244 | 0.44432 | 157.5966 | 13.5269
2015-03-18 19:00 | 752.5083 | 5.3318 | 2.228 | 0.71 | 42.3458 | 11.7186 | 0.67813 | 44.0894 | 11.2919
2015-03-18 20:00 | 752.5167 | 4.8398 | 2.348 | 0.7845 | 73.0243 | 15.7297 | 0.73003 | 70.3546 | 15.0138
2015-03-18 21:00 | 752.4917 | 4.6965 | 0.988 | 0.33108 | 123.0952 | 7.2539 | 0.30781 | 144.2019 | 7.135
2015-03-18 22:00 | 752.3417 | 4.7152 | AO | AO | AO | AO | AO | AO | AO
2015-03-18 23:00 | 752.2583 | 4.856 | 1.388 | 0.67725 | 106.7279 | 12.6335 | 0.58916 | 109.7179 | 12.49
2015-03-19 | 752.4417 | 4.7933 | 1.148 | 0.41775 | 55.4412 | 8.9331 | 0.39544 | 68.3178 | 8.8674
2015-03-19 01:00 | 752.65 | 4.0182 | 1.028 | 0.37108 | 54.3914 | 12.1244 | 0.18371 | 23.8309 | 11.5482
2015-03-19 02:00 | 752.5917 | 3.8637 | 1.308 | 0.67817 | 165.8898 | 8.3308 | 0.63727 | 164.2634 | 8.5
2015-03-19 03:00 | 752.4417 | 4.0323 | 1.268 | 0.23875 | 115.0125 | 8.5256 | 0.22455 | 134.1665 | 8.1355
2015-03-19 04:00 | 752.4333 | 4.2557 | 1.548 | 0.77842 | 100.8876 | 15.3583 | 0.69288 | 101.1916 | 15.0777
2015-03-19 05:00 | 752.6417 | 3.6946 | 3.508 | 1.463 | 57.7334 | 13.507 | 1.3513 | 59.8373 | 13.1456
2015-03-19 06:00 | 752.8833 | 3.6919 | 5.027 | 1.8709 | 67.6909 | 21.3639 | 1.7513 | 66.7534 | 20.066
2015-03-19 07:00 | 752.8417 | 4.0846 | 5.027 | 2.283 | 71.7355 | 20.9798 | 2.1383 | 71.3559 | 19.4003
2015-03-19 08:00 | 752.8167 | 4.719 | AZ | AZ | AZ | AZ | AZ | AZ | AZ
2015-03-19 09:00 | 752.5583 | 6.5593 | 7.667 | 3.5301 | 71.8414 | 20.0264 | 3.3347 | 73.0443 | 18.9725
2015-03-19 10:00 | 752.1417 | 7.398 | 7.987 | 3.5308 | 78.4908 | 20.6175 | 3.324 | 78.5284 | 19.2228
2015-03-19 11:00 | 751.8667 | 7.6113 | 6.947 | 3.0745 | 63.2493 | 21.5145 | 2.8362 | 62.0283 | 20.0306
2015-03-19 12:00 | 751.35 | 7.3893 | 7.187 | 3.6285 | 48.1911 | 19.1291 | 3.445 | 48.3985 | 17.6029
2015-03-19 13:00 | 750.725 | 6.7173 | 6.987 | 3.5663 | 40.9547 | 16.8777 | 3.4259 | 41.0238 | 16.0969
2015-03-19 14:00 | 750.225 | 6.236 | 7.027 | 3.6242 | 45.078 | 17.8364 | 3.4599 | 44.273 | 17.098
2015-03-19 15:00 | 749.75 | 6.0214 | 8.55 | 3.4608 | 55.5953 | 19.467 | 3.277 | 54.6999 | 18.4611
2015-03-19 16:00 | 749.5167 | 5.457 | 7.067 | 3.2689 | 52.6898 | 19.7346 | 3.0758 | 52.1064 | 18.7646
2015-03-19 17:00 | 749.3333 | 4.4141 | 6.147 | 2.7225 | 62.5953 | 20.4674 | 2.5487 | 62.4967 | 19.0429
2015-03-19 18:00 | 749.2417 | 3.873 | 5.107 | 2.5311 | 58.8989 | 17.6846 | 2.4123 | 58.8928 | 17.0956
2015-03-19 19:00 | 749.5167 | 3.9157 | 4.187 | 1.7027 | 56.7881 | 17.5305 | 1.6215 | 56.5279 | 16.9987
2015-03-19 20:00 | 749.3917 | 4.0528 | 2.668 | 1.3199 | 83.5148 | 18.9871 | 0.9743 | 84.3074 | 18.2398
2015-03-19 21:00 | 749.0583 | 5.0739 | 6.667 | 1.6321 | 154.9145 | 23.0104 | 1.4151 | 156.9181 | 21.2463
2015-03-19 22:00 | 748.825 | 5.2235 | 5.507 | 2.6083 | 142.9289 | 16.8978 | 2.46 | 145.5189 | 16.4855
2015-03-19 23:00 | 748.6333 | 4.2475 | 5.027 | 3.0894 | 164.8637 | 11.6501 | 2.9962 | 164.8455 | 11.3362
2015-03-20 | 748.5 | 3.6213 | 4.347 | 2.0844 | 178.0717 | 12.9762 | 2.0103 | 178.3305 | 12.6749
2015-03-20 01:00 | 748.525 | 3.4876 | 2.508 | 1.4418 | 157.1897 | 10.9841 | 1.4087 | 158.1528 | 10.6501
2015-03-20 02:00 | 748.425 | 3.4368 | 2.668 | 1.4628 | 201.5477 | 9.6797 | 1.3608 | 198.2397 | 9.5574
2015-03-20 03:00 | 748.2167 | 3.2397 | 2.628 | 1.816 | 210.0601 | 8.6225 | 1.7776 | 210.3278 | 8.4775
2015-03-20 04:00 | 748.2833 | 3.0616 | 2.868 | 1.9631 | 194.2915 | 8.5178 | 1.9221 | 194.2919 | 8.3874
2015-03-20 05:00 | 748.475 | 3.0675 | 3.108 | 2.0048 | 191.6528 | 8.8273 | 1.9723 | 190.8331 | 8.7213
2015-03-20 06:00 | 748.9417 | 3.2605 | 3.028 | 2.0877 | 208.2064 | 8.698 | 2.0564 | 208.4464 | 8.5906
2015-03-20 07:00 | 748.9167 | 3.7812 | 3.308 | 2.2566 | 209.9836 | 10.6699 | 2.2154 | 209.9522 | 10.4539
2015-03-20 08:00 | 749.0833 | 4.6026 | 4.267 | 2.5376 | 208.86 | 13.2168 | 2.4522 | 208.5601 | 12.8981
2015-03-20 09:00 | 749.0833 | 5.7951 | 4.947 | 2.9152 | 214.2696 | 15.2097 | 2.7763 | 214.1294 | 14.6803
2015-03-20 10:00 | 748.825 | 7.0838 | 6.067 | 3.2466 | 222.5739 | 18.1723 | 3.0489 | 221.7205 | 17.5306
2015-03-20 11:00 | 748.4667 | 8.3183 | 6.347 | 3.3868 | 216.426 | 19.0616 | 3.1261 | 215.6116 | 18.4443
2015-03-20 12:00 | 748.2667 | 9.0292 | 7.267 | 4.3828 | 219.8453 | 13.4467 | 4.1506 | 219.9322 | 13.2543
2015-03-20 13:00 | 747.8583 | 9.0558 | 7.867 | 5.0741 | 211.6334 | 12.9123 | 4.9345 | 211.7524 | 12.8093
2015-03-20 14:00 | 747.5917 | 8.6967 | 8.63 | 5.1928 | 212.1241 | 11.3182 | 5.0522 | 211.931 | 11.1336
2015-03-20 15:00 | 747.45 | 8.3492 | 9.11 | 5.0542 | 208.7087 | 13.3834 | 4.9091 | 208.8421 | 12.9822
2015-03-20 16:00 | 747.0167 | 8.45 | 8.39 | 4.7118 | 199.7418 | 13.4252 | 4.546 | 199.5104 | 13.0771
2015-03-20 17:00 | 747.1083 | 8.1084 | 9.15 | 5.0757 | 193.1978 | 11.1739 | 4.9529 | 192.9324 | 10.9603
2015-03-20 18:00 | 747.4417 | 7.2324 | 8.27 | 4.1836 | 201.3086 | 11.7377 | 4.0862 | 201.0545 | 11.5112
2015-03-20 19:00 | 747.525 | 6.2364 | 8.91 | 4.7302 | 203.8192 | 12.5906 | 4.6055 | 204.0435 | 12.3137
2015-03-20 20:00 | 747.4917 | 5.2055 | 7.307 | 4.3268 | 206.0339 | 12.0757 | 4.2271 | 206.3348 | 11.8217
2015-03-20 21:00 | 747.4333 | 4.3117 | 7.907 | 4.3593 | 208.8838 | 11.9728 | 4.2683 | 209.3418 | 11.5918
2015-03-20 22:00 | 747.6833 | 3.9134 | 9.71 | 5.2555 | 210.9846 | 11.6901 | 5.1448 | 211.7471 | 11.3834
2015-03-20 23:00 | 747.2083 | 4.2911 | 10.87 | 5.2887 | 199.4482 | 12.3455 | 5.1362 | 198.842 | 12.1225
2015-03-21 | 746.6833 | 4.5324 | 10.07 | 5.6889 | 200.7254 | 12.2973 | 5.555 | 200.6235 | 12.0521
2015-03-21 01:00 | 746.325 | 4.6158 | 9.11 | 4.929 | 199.2413 | 11.7798 | 4.8196 | 199.04 | 11.4737
2015-03-21 02:00 | 745.875 | 4.229 | 8.27 | 4.48 | 201.4841 | 11.945 | 4.3761 | 201.7533 | 11.8106
2015-03-21 03:00 | 745.4667 | 4.0909 | 8.79 | 4.7655 | 204.1443 | 11.9926 | 4.6271 | 204.7519 | 11.6987
2015-03-21 04:00 | 745.7083 | 3.6383 | 7.507 | 4.123 | 217.5504 | 10.5797 | 4.0549 | 217.8623 | 10.2634
2015-03-21 05:00 | 746.1833 | 3.1675 | 5.747 | 3.475 | 218.5763 | 9.5116 | 3.4254 | 218.5926 | 9.2691
2015-03-21 06:00 | 746.7917 | 3.1505 | 4.987 | 2.7521 | 237.4813 | 11.7361 | 2.671 | 237.7215 | 11.3274
2015-03-21 07:00 | 747.4833 | 5.2222 | 11.51 | 2.9598 | 277.9707 | 15.9762 | 2.1032 | 288.5909 | 15.5607
2015-03-21 08:00 | 748.4083 | 7.6506 | 14.67 | 8.4793 | 341.373 | 15.3009 | 8.1717 | 341.0736 | 14.9976
2015-03-21 09:00 | 749.5417 | 7.2501 | 14.19 | 8.0017 | 345.9758 | 16.3376 | 7.6057 | 345.4154 | 15.866
2015-03-21 10:00 | 750.3083 | 6.3833 | 11.51 | 6.0148 | 0.7468 | 17.7886 | 5.6759 | 359.3223 | 17.3351
2015-03-21 11:00 | 750.5917 | 5.8747 | 10.83 | 5.5242 | 16.0158 | 17.9061 | 5.2353 | 15.9085 | 17.2866
2015-03-21 12:00 | 750.8083 | 5.6242 | 9.23 | 5.0935 | 5.4268 | 19.2715 | 4.7524 | 3.9787 | 18.8673
2015-03-21 13:00 | 750.6333 | 5.002 | 8.51 | 4.3376 | 29.467 | 20.9478 | 4.0248 | 28.4149 | 20.1228
2015-03-21 14:00 | 750.5917 | 4.3869 | 8.55 | 4.2749 | 38.5914 | 20.4253 | 4.0146 | 37.3409 | 18.9949
2015-03-21 15:00 | 750.8917 | 3.7981 | 7.707 | 3.8133 | 49.101 | 20.3715 | 3.547 | 47.6157 | 19.4858
2015-03-21 16:00 | 750.7083 | 2.9495 | 8.07 | 4.1046 | 33.8601 | 18.915 | 3.857 | 33.9045 | 18.1255
2015-03-21 17:00 | 751.025 | 1.8719 | 7.187 | 3.5245 | 39.3983 | 19.0405 | 3.3324 | 39.0676 | 18.0769
2015-03-21 18:00 | 751.4917 | 1.1602 | 5.387 | 2.7535 | 40.4488 | 18.3165 | 2.623 | 39.9722 | 17.2503
2015-03-21 19:00 | 751.875 | 0.95642 | 5.107 | 2.3333 | 50.8498 | 16.9667 | 2.2286 | 49.5284 | 16.152
2015-03-21 20:00 | 752.0083 | 0.7895 | 3.388 | 1.5202 | 69.8046 | 17.7393 | 1.4312 | 68.6962 | 17.1367
2015-03-21 21:00 | 752.1083 | 0.7495 | 3.788 | 1.463 | 73.6225 | 19.4016 | 1.3692 | 72.9381 | 18.4518
2015-03-21 22:00 | 752.1083 | 0.83992 | 3.948 | 1.5656 | 65.9656 | 18.2907 | 1.4836 | 65.6866 | 17.965
2015-03-21 23:00 | 751.875 | 0.86025 | 3.668 | 1.8415 | 62.0935 | 17.3558 | 1.7361 | 62.2648 | 16.8861

## ST_CenterEast
South Terminal - Center East Site
DATE TIME | APM10 ug/m3
2015-03-15 | 11
2015-03-15 01:00 | 18
2015-03-15 02:00 | 15
2015-03-15 03:00 | 23.5833
2015-03-15 04:00 | 16.4167
2015-03-15 05:00 | 22
2015-03-15 06:00 | 29
2015-03-15 07:00 | 32
2015-03-15 08:00 | 21
2015-03-15 09:00 | 12.5833
2015-03-15 10:00 | 10
2015-03-15 11:00 | 13.9167
2015-03-15 12:00 | 24.1667
2015-03-15 13:00 | 34
2015-03-15 14:00 | 24.0833
2015-03-15 15:00 | 17
2015-03-15 16:00 | 20
2015-03-15 17:00 | 18
2015-03-15 18:00 | 23
2015-03-15 19:00 | 37
2015-03-15 20:00 | 36
2015-03-15 21:00 | 16
2015-03-15 22:00 | 12.3333
2015-03-15 23:00 | 11
2015-03-16 | 8
2015-03-16 01:00 | 9.4167
2015-03-16 02:00 | 29
2015-03-16 03:00 | 33
2015-03-16 04:00 | 32
2015-03-16 05:00 | 62
2015-03-16 06:00 | 81.0833
2015-03-16 07:00 | 75.1667
2015-03-16 08:00 | 94
2015-03-16 09:00 | 74.8333
2015-03-16 10:00 | 70.75
2015-03-16 11:00 | 83
2015-03-16 12:00 | 67
2015-03-16 13:00 | 102.3333
2015-03-16 14:00 | 63
2015-03-16 15:00 | 43.9167
2015-03-16 16:00 | 85
2015-03-16 17:00 | 36
2015-03-16 18:00 | 31.3333
2015-03-16 19:00 | 16.5
2015-03-16 20:00 | 101
2015-03-16 21:00 | 98
2015-03-16 22:00 | 35
2015-03-16 23:00 | 34.8333
2015-03-17 | 6
2015-03-17 01:00 | 4
2015-03-17 02:00 | 1.5833
2015-03-17 03:00 | 13
2015-03-17 04:00 | 54
2015-03-17 05:00 | 54.4167
2015-03-17 06:00 | 105.9167
2015-03-17 07:00 | 88
2015-03-17 08:00 | 56.0833
2015-03-17 09:00 | 33
2015-03-17 10:00 | 26
2015-03-17 11:00 | 11
2015-03-17 12:00 | 6
2015-03-17 13:00 | 2
2015-03-17 14:00 | 1
2015-03-17 15:00 | 2
2015-03-17 16:00 | 4
2015-03-17 17:00 | 6
2015-03-17 18:00 | 10.25
2015-03-17 19:00 | 10
2015-03-17 20:00 | 17
2015-03-17 21:00 | 20
2015-03-17 22:00 | 26
2015-03-17 23:00 | 41
2015-03-18 | 58.6667
2015-03-18 01:00 | 38
2015-03-18 02:00 | 24
2015-03-18 03:00 | 18
2015-03-18 04:00 | 18
2015-03-18 05:00 | 35
2015-03-18 06:00 | 46
2015-03-18 07:00 | 41.4167
2015-03-18 08:00 | 36
2015-03-18 09:00 | 24
2015-03-18 10:00 | 18
2015-03-18 11:00 | 8
2015-03-18 12:00 | 5
2015-03-18 13:00 | 8
2015-03-18 14:00 | 7
2015-03-18 15:00 | 7
2015-03-18 16:00 | 7.6667
2015-03-18 17:00 | 36
2015-03-18 18:00 | 16.4167
2015-03-18 19:00 | 33
2015-03-18 20:00 | 22
2015-03-18 21:00 | 21
2015-03-18 22:00 | 50
2015-03-18 23:00 | 48
2015-03-19 | 26.1667
2015-03-19 01:00 | 27
2015-03-19 02:00 | 19
2015-03-19 03:00 | 17.3333
2015-03-19 04:00 | 15
2015-03-19 05:00 | 33
2015-03-19 06:00 | 16
2015-03-19 07:00 | 18.3333
2015-03-19 08:00 | 20
2015-03-19 09:00 | 36.4167
2015-03-19 10:00 | 34
2015-03-19 11:00 | AZ
2015-03-19 12:00 | AZ
2015-03-19 13:00 | 31
2015-03-19 14:00 | 16.5
2015-03-19 15:00 | 12.0833
2015-03-19 16:00 | 12
2015-03-19 17:00 | 10
2015-03-19 18:00 | 13
2015-03-19 19:00 | 12
2015-03-19 20:00 | 13
2015-03-19 21:00 | 26.25
2015-03-19 22:00 | 16
2015-03-19 23:00 | 11
2015-03-20 | 12
2015-03-20 01:00 | 10
2015-03-20 02:00 | 14
2015-03-20 03:00 | 24.8333
2015-03-20 04:00 | 24
2015-03-20 05:00 | 25
2015-03-20 06:00 | 32
2015-03-20 07:00 | 25
2015-03-20 08:00 | 35
2015-03-20 09:00 | 34
2015-03-20 10:00 | 34
2015-03-20 11:00 | 38
2015-03-20 12:00 | 44
2015-03-20 13:00 | 45
2015-03-20 14:00 | 62
2015-03-20 15:00 | 36
2015-03-20 16:00 | 29
2015-03-20 17:00 | 22
2015-03-20 18:00 | 47.25
2015-03-20 19:00 | 36
2015-03-20 20:00 | 37
2015-03-20 21:00 | 38
2015-03-20 22:00 | 37
2015-03-20 23:00 | 25.1667
2015-03-21 | 18
2015-03-21 01:00 | 15
2015-03-21 02:00 | 20
2015-03-21 03:00 | 21
2015-03-21 04:00 | 18
2015-03-21 05:00 | 22
2015-03-21 06:00 | 26
2015-03-21 07:00 | 20.6667
2015-03-21 08:00 | 95
2015-03-21 09:00 | 59.5833
2015-03-21 10:00 | 8
2015-03-21 11:00 | 14.75
2015-03-21 12:00 | 14
2015-03-21 13:00 | 8.5
2015-03-21 14:00 | 6
2015-03-21 15:00 | 3.0833
2015-03-21 16:00 | 4
2015-03-21 17:00 | 6
2015-03-21 18:00 | 5
2015-03-21 19:00 | 7
2015-03-21 20:00 | 9
2015-03-21 21:00 | 6
2015-03-21 22:00 | 3
2015-03-21 23:00 | 2

## ST_SW
South Terminal Southwest Site
DATE TIME | APM10 ug/m3
2015-03-15 | 8.8333
2015-03-15 01:00 | 9
2015-03-15 02:00 | 18.9167
2015-03-15 03:00 | 19
2015-03-15 04:00 | 19
2015-03-15 05:00 | 20
2015-03-15 06:00 | AV
2015-03-15 07:00 | AV
2015-03-15 08:00 | 28
2015-03-15 09:00 | 26
2015-03-15 10:00 | 25
2015-03-15 11:00 | 25
2015-03-15 12:00 | 44
2015-03-15 13:00 | 23.1667
2015-03-15 14:00 | 21.5
2015-03-15 15:00 | 35.0833
2015-03-15 16:00 | 33
2015-03-15 17:00 | 39
2015-03-15 18:00 | 42
2015-03-15 19:00 | 28
2015-03-15 20:00 | 22.25
2015-03-15 21:00 | 13.0833
2015-03-15 22:00 | 9
2015-03-15 23:00 | 12
2015-03-16 | 9
2015-03-16 01:00 | 10.6667
2015-03-16 02:00 | 18
2015-03-16 03:00 | 43
2015-03-16 04:00 | 39
2015-03-16 05:00 | 33
2015-03-16 06:00 | 39.5
2015-03-16 07:00 | 45
2015-03-16 08:00 | 45
2015-03-16 09:00 | 43
2015-03-16 10:00 | 51
2015-03-16 11:00 | 43
2015-03-16 12:00 | 67
2015-03-16 13:00 | AV
2015-03-16 14:00 | AV
2015-03-16 15:00 | 70.0833
2015-03-16 16:00 | 80
2015-03-16 17:00 | 32
2015-03-16 18:00 | 18.9167
2015-03-16 19:00 | 41.0833
2015-03-16 20:00 | 145
2015-03-16 21:00 | 86
2015-03-16 22:00 | 28
2015-03-16 23:00 | 58
2015-03-17 | 8
2015-03-17 01:00 | 5.3333
2015-03-17 02:00 | 6
2015-03-17 03:00 | 10
2015-03-17 04:00 | 45.9167
2015-03-17 05:00 | 34
2015-03-17 06:00 | 66
2015-03-17 07:00 | 78
2015-03-17 08:00 | 58
2015-03-17 09:00 | 33
2015-03-17 10:00 | 31
2015-03-17 11:00 | 51
2015-03-17 12:00 | 27
2015-03-17 13:00 | 16.75
2015-03-17 14:00 | 24
2015-03-17 15:00 | 7
2015-03-17 16:00 | 15.4167
2015-03-17 17:00 | 20
2015-03-17 18:00 | 8
2015-03-17 19:00 | 15
2015-03-17 20:00 | 24
2015-03-17 21:00 | 21.9167
2015-03-17 22:00 | 26.9167
2015-03-17 23:00 | 46
2015-03-18 | 50
2015-03-18 01:00 | 35
2015-03-18 02:00 | 25
2015-03-18 03:00 | 23
2015-03-18 04:00 | 19
2015-03-18 05:00 | 26.0833
2015-03-18 06:00 | 92
2015-03-18 07:00 | 42
2015-03-18 08:00 | 35
2015-03-18 09:00 | 17.6667
2015-03-18 10:00 | 21
2015-03-18 11:00 | 6.1667
2015-03-18 12:00 | 20.75
2015-03-18 13:00 | 22.3333
2015-03-18 14:00 | 6
2015-03-18 15:00 | 6
2015-03-18 16:00 | 11
2015-03-18 17:00 | 32
2015-03-18 18:00 | 16.9167
2015-03-18 19:00 | 44.9167
2015-03-18 20:00 | 29
2015-03-18 21:00 | 18.0833
2015-03-18 22:00 | 55
2015-03-18 23:00 | 72
2015-03-19 | 26
2015-03-19 01:00 | 30
2015-03-19 02:00 | 25
2015-03-19 03:00 | 20
2015-03-19 04:00 | 17
2015-03-19 05:00 | 37
2015-03-19 06:00 | 15.8333
2015-03-19 07:00 | 18
2015-03-19 08:00 | 26
2015-03-19 09:00 | 59
2015-03-19 10:00 | 60.0833
2015-03-19 11:00 | AZ
2015-03-19 12:00 | AZ
2015-03-19 13:00 | 46
2015-03-19 14:00 | 17
2015-03-19 15:00 | 14
2015-03-19 16:00 | 13.9167
2015-03-19 17:00 | 14.9167
2015-03-19 18:00 | 12
2015-03-19 19:00 | 14
2015-03-19 20:00 | 14.3333
2015-03-19 21:00 | 32
2015-03-19 22:00 | 13.0833
2015-03-19 23:00 | 13
2015-03-20 | 11
2015-03-20 01:00 | 8
2015-03-20 02:00 | 13
2015-03-20 03:00 | 25
2015-03-20 04:00 | 24
2015-03-20 05:00 | 25.3333
2015-03-20 06:00 | 24
2015-03-20 07:00 | 28
2015-03-20 08:00 | 30
2015-03-20 09:00 | 31
2015-03-20 10:00 | 30
2015-03-20 11:00 | 34.6667
2015-03-20 12:00 | 38
2015-03-20 13:00 | 40
2015-03-20 14:00 | 45
2015-03-20 15:00 | 30.6667
2015-03-20 16:00 | 23
2015-03-20 17:00 | 21.75
2015-03-20 18:00 | 30
2015-03-20 19:00 | 35
2015-03-20 20:00 | 33.0833
2015-03-20 21:00 | 27
2015-03-20 22:00 | 24
2015-03-20 23:00 | 30
2015-03-21 | 25
2015-03-21 01:00 | 26
2015-03-21 02:00 | 20.6667
2015-03-21 03:00 | 18
2015-03-21 04:00 | 15
2015-03-21 05:00 | 21.6667
2015-03-21 06:00 | 24
2015-03-21 07:00 | 24.1667
2015-03-21 08:00 | 73
2015-03-21 09:00 | 49
2015-03-21 10:00 | 14
2015-03-21 11:00 | 17.9167
2015-03-21 12:00 | 19
2015-03-21 13:00 | 10.1667
2015-03-21 14:00 | 27.8333
2015-03-21 15:00 | 15
2015-03-21 16:00 | 13
2015-03-21 17:00 | 12
2015-03-21 18:00 | 16
2015-03-21 19:00 | 14
2015-03-21 20:00 | 8
2015-03-21 21:00 | 4.8333
2015-03-21 22:00 | 6
2015-03-21 23:00 | 3.0833

## Legend
DATE TIME | Date of reported data and time at onset of hourly average
APM10 ug/m3 | PM10 continuous monitor data, EPA std conditions, micrograms per cubic meter
PRESS mmHg | Barometric Pressure, millimeters of mercury
TEMP DEG C | Ambient Temperature, degrees Celsius
GUST m/s | One second wind gust, maximum value for the hour, meters per second
WSPD m/s | Scalar wind speed, meters per second
WDIR deg | Scalar wind direction, degrees
HZD-S deg | Standard deviation of scalar wind direction, degrees
RESSP m/s | Resultant wind speed, meters per second
RESDR deg | Resultant wind direction, degrees
HZD-V deg | Standard deviation of resultant wind direction, degrees